## OVERVIEW
[11 empty] | T1 | T2 | T3 | T4 | T4-Extension
| NOTE: All samples were tested using 2ml of deionised H2O | [7 empty] | Relative Standard Deviation |  | 0.013184 | 0.46401 | 0.0068644 | 0.31791 | 0.42957
[9 empty] | RSD% |  | 1.3184 | 44.4674 | 0.68644 | 31.7969 | 42.9568
Sample | TEST 1 |  | TEST 2 |  | TEST 3 |  | TEST 4
id. | v (ul) | 260/280 | v (ul) | 260/280 | v (ul) | 260/280 | v (ul) | 260/280 |  | Blood storage | Date | Time
1 | 50 | 1.1892 | 150 | 1.0465 | 50 | 0 | 50 | 1.25
2 | 50 | 1.1667 | 150 | 1.1071 | 50 | 1.381 | 50 | 1.2222 |  | Collection (on wet ice) | 2012-04-19
3 | 50 | 1.25 | 150 | 1.2308 | 50 | 1.1538 | 50 | 1.4375 |  | Refrigerated (at 4 d C) | 2012-04-19
4 | 50 | 1.4 | 150 | 1.1 | 50 | 1.5455 | 50 | 1.4444 |  | Frozen (-20 d C frost freeze) | 2012-04-24
5 | 50 | 0.5 | 150 | 0.875 | 50 | 1.2 | 50 | 0 |  | Thawed (at 4 d C) | 2012-08-29 | 12:00
6 | 50 | 1.2 | 150 | 0.87097 | 50 | 1.4286 | 50 | 1.3333
7 | 50 | 1.25 | 150 | 0.89286 | 50 | 1.5 | 50 | 1 |  | t-Test: Two-Sample Assuming Equal Variances |  |  |  | t-Test: Two-Sample Assuming Equal Variances |  |  | t-Test: Two-Sample Assuming Equal Variances
8 | 50 | 1.3333 | 150 | 0.95238 | 50 | 1.3846 | 50 | 1.4167 |  | (Compare Test 1 & 2) |  |  |  | (Compare Test 2 & 4 extension) |  |  | (Compare Test 3 & 4)
9 | 50 | 1.4667 | 150 | 0.64286 | 50 | 1.5 | 50 | 0.75 |  |  | Variable 1 | Variable 2 |  |  | Variable 1 | Variable 2 |  | Variable 1 | Variable 2
10 | 50 | 2 | 150 | 0.25 | 50 | 1.4 | 50 | 1.3333 |  | Mean | 1.096 | 0.94638 |  | Mean | 0.94638 | 1.0492 | Mean | 1.3621 | 1.1272
11 | 50 | 0 | 150 | 0.66667 | 50 | 1.4444 | 50 | 1.0909 |  | Variance | 0.43454 | 0.39945 |  | Variance | 0.39945 | 0.20315 | Variance | 0.1178 | 0.12841
12 | 50 | 0 | 150 | 2.75 | 50 | 1.5 | 50 | 1.4118 |  | Observations | 24 | 24 |  | Observations | 24 | 39 | Observations | 24 | 24
13 | 50 | 1 | 150 | 0.88889 | 50 | 1.4 | 50 | 1.4 |  | Pooled Variance | 0.41699 |  |  | Pooled Variance | 0.27716 |  | Pooled Variance | 0.12311
14 | 50 | 1.3333 | 150 | 0.71429 | 50 | 1.3636 | 50 | 1.1818 |  | Hypothesized Mean Difference | 0 |  |  | Hypothesized Mean Difference | 0 |  | Hypothesized Mean Difference | 0
15 | 50 | 1.3333 | 150 | 0.4 | 50 | 1.5556 | 50 | 1.5 |  | df | 46 |  |  | df | 61 |  | df | 46
16 | 50 | 2 | 150 | 2.6667 | 50 | 1.4898 | 50 | 1.3333 |  | t Stat | 0.80245 |  |  | t Stat | -0.75308 |  | t Stat | 2.3193
17 | 50 | 1.2308 | 150 | 1.25 | 50 | 1.4706 | 50 | 1.2727 |  | P(T<=t) one-tail | 0.21321 |  |  | P(T<=t) one-tail | 0.22715 |  | P(T<=t) one-tail | 0.012435
18 | 50 | 0 | 150 | 0.90323 | 50 | 1.5 | 50 | 1.1739 |  | t Critical one-tail | 1.6787 |  |  | t Critical one-tail | 1.6702 |  | t Critical one-tail | 1.6787
19 | 50 | 1.75 | 150 | 0.92857 | 50 | 1.4444 | 50 | 1.2222 |  | P(T<=t) two-tail | 0.42642 |  |  | P(T<=t) two-tail | 0.4543 |  | P(T<=t) two-tail | 0.02487
20 | 50 | 1.5 | 150 | 0.052632 | 50 | 1.4615 | 50 | 0.86667 |  | t Critical two-tail | 2.0129 |  |  | t Critical two-tail | 1.9996 |  | t Critical two-tail | 2.0129
21 | 50 | 0 | 150 | 0.14286 | 50 | 1.4 | 50 | 0.36364
22 | 50 | 0 | 150 | 0.52381 | 50 | 2 | 50 | 0.83333 |  | t-Test: Two-Sample Assuming Equal Variances |  |  |  | t-Test: Two-Sample Assuming Equal Variances
23 | 50 | 1.4 | 150 | 0.71429 | 50 | 1.1667 | 50 | 1.2143 |  | (Compare test 2 & 3) |  |  |  | (Compare Test 1 & 3)
24 | 50 | 2 | 150 | 1.1429 | 50 | 1 | 50 | 1 |  |  | Variable 1 | Variable 2 |  |  | Variable 1 | Variable 2
25 | [6 empty] | 50 | 1.2 |  | Mean | 0.94638 | 1.3621 |  | Mean | 1.096 | 1.3621
26 | [6 empty] | 50 | 1 |  | Variance | 0.39945 | 0.1178 |  | Variance | 0.43454 | 0.1178
27 | [6 empty] | 50 | 1.2 |  | Observations | 24 | 24 |  | Observations | 24 | 24
28 | [6 empty] | 50 | 1.25 |  | Pooled Variance | 0.25862 |  |  | Pooled Variance | 0.27617
29 | [6 empty] | 50 | 0.42857 |  | Hypothesized Mean Difference | 0 |  |  | Hypothesized Mean Difference | 0
30 | [6 empty] | 50 | 1 |  | df | 46 |  |  | df | 46
31 | [6 empty] | 50 | 1.1667 |  | t Stat | -2.8316 |  |  | t Stat | -1.7542
32 | [6 empty] | 50 | 1.3333 |  | P(T<=t) one-tail | 0.0034239 |  |  | P(T<=t) one-tail | 0.043029
33 | [6 empty] | 50 | 0.9 |  | t Critical one-tail | 1.6787 |  |  | t Critical one-tail | 1.6787
34 | [6 empty] | 50 | 1.1 |  | P(T<=t) two-tail | 0.0068478 |  |  | P(T<=t) two-tail | 0.086059
35 | [6 empty] | 50 | 0.85714 |  | t Critical two-tail | 2.0129 |  |  | t Critical two-tail | 2.0129
36 | [6 empty] | 50 | 0.81818
37 | [6 empty] | 50 | 0.83333 |  | t-Test: Two-Sample Assuming Equal Variances |  |  |  | t-Test: Two-Sample Assuming Equal Variances
38 | [6 empty] | 50 | 1.1 |  | (Compare Test 2 & 4) |  |  |  | (Compare Test 1 & 4)
39 | [6 empty] | 50 | 0.4 |  |  | Variable 1 | Variable 2 |  |  | Variable 1 | Variable 2
40 | [6 empty] | 50 | -0.25 |  | Mean | 0.94638 | 1.1272 |  | Mean | 1.096 | 1.1272
41 | [6 empty] | 50 | 0.625 |  | Variance | 0.39945 | 0.12841 |  | Variance | 0.43454 | 0.12841
42 | [6 empty] | 50 | 1.2727 |  | Observations | 24 | 24 |  | Observations | 24 | 24
43 | [6 empty] | 50 | 1.1429 |  | Pooled Variance | 0.26393 |  |  | Pooled Variance | 0.28147
44 | [6 empty] | 50 | 0.88889 |  | Hypothesized Mean Difference | 0 |  |  | Hypothesized Mean Difference | 0
45 | [6 empty] | 50 | 3 |  | df | 46 |  |  | df | 46
46 | [6 empty] | 50 | 1 |  | t Stat | -1.219 |  |  | t Stat | -0.20372
47 | [6 empty] | 50 | 1 |  | P(T<=t) one-tail | 0.11452 |  |  | P(T<=t) one-tail | 0.41973
48 | [6 empty] | 50 | 0.75 |  | t Critical one-tail | 1.6787 |  |  | t Critical one-tail | 1.6787
49 | [6 empty] | 50 | 1.1875 |  | P(T<=t) two-tail | 0.22905 |  |  | P(T<=t) two-tail | 0.83947
50 | [6 empty] | 50 | 1 |  | t Critical two-tail | 2.0129 |  |  | t Critical two-tail | 2.0129
51 | [6 empty] | 50 | 1.25
52 | [6 empty] | 50 | 1.2857
53 | [6 empty] | 50 | 1.1176
54 | [6 empty] | 50 | 1.2308
55 | [6 empty] | 50 | 1.3
56 | [6 empty] | 50 | 1
57 | [6 empty] | 50 | 1.25
58 | [6 empty] | 50 | 0.875
59 | [6 empty] | 50 | 1
60 | [6 empty] | 50 | 1.15
61 | [6 empty] | 50 | 1.2857
62 | [6 empty] | 50 | 1.4
63 | [6 empty] | 50 | 0.57143
| TEST 1 | 1.25 | TEST 2 | 0.89087 | TEST 3 | 1.4444 | TEST 4 | 1.2222
|  | 0.6592 |  | 0.63202 |  | 0.1875 |  | 0.35834
|  | 1.096 |  | 0.94638 |  | 1.4213 | (Top 24) | 1.1272
[7 empty] | TEST 4 | 1.1583
[7 empty] | EXTENSION | 0.3963
[7 empty] | (Above) | 1.0963

## TEST 1 (T1)
TEST 1
| Table 1a: Test 1 using 50 ul of sample and an additional analysis to determine FG3 affectiveness | [8 empty] | Table 1b: Test 1 repeats using 50 ul of sample.
| FG3 experiment | Sample id. | v (ul) | 230 | 260 | 270 | 280 | 260/280 |  | NLIS tag | v (ul) | 230 | 260 | 270 | 280 | 260/280
|  | 1 | 50 | 0.079 | 0.044 | 0.041 | 0.037 | 1.1892 | Repeat | 5 | 50 | 0.002 | 0.001 | 0 | 0
|  | 2 | 50 | 0.019 | 0.021 | 0.018 | 0.018 | 1.1667 | Repeat | 11 | 50 | 0.023 | 0.005 | 0.005 | 0.005 | 1
|  | 3 | 50 | 0.025 | 0.01 | 0.01 | 0.008 | 1.25 | Repeat | 21 | 50 | 0.01 | 0 | 0 | 0
|  | 4 | 50 | 0.015 | 0.007 | 0.006 | 0.005 | 1.4 | Repeat | 22 | 50 | 0.011 | 0 | 0 | 0
| Fresh 400 | 5 | 50 | 0 | -0.001 | -0.002 | -0.002 | 0.5 |  | Median |  | 0.0105 | 0.0005 | 0 | 0 | 1
|  | 6 | 50 | 0.033 | 0.012 | 0.012 | 0.01 | 1.2 |  | STDEV |  | 0.0086603 | 0.0023805 | 0.0025 | 0.0025 | #DIV/0!
| Fresh 500 | 7 | 50 | 0.008 | 0.005 | 0.004 | 0.004 | 1.25 |  | AV |  | 0.0115 | 0.0015 | 0.00125 | 0.00125 | 1
|  | 8 | 50 | 0.033 | 0.016 | 0.015 | 0.012 | 1.3333
Red mark |  | 9 | 50 | 0.037 | 0.022 | 0.019 | 0.015 | 1.4667 |  | Table 1c: Test 1 displaying detailed data relating to increasing/replacing FG3 level
| Fresh 1000 V | 10 | 50 | 0.003 | 0.002 | 0.001 | 0.001 | 2 |  | ANALYSE THIS BY T-TEST |  |  | TEST 1
|  | 11 | 50 | 0.01 | 0 | 0.003 | 0.004 | 0 |  |  | Additional FG3 incorporated into samples |  |  |  |  | FG3 replaced with fresh FG3 (total)
| Add. 1000 V | 12 | 50 | 0.013 | 0.004 | 0.005 | 0 | 0 |  |  | FG3 (ul) | Sample id. | FG3 (ul) | Sample id. |  | FG3 (ul) | Sample id. | FG3 (ul) | Sample id.
| Add. 1000 V | 13 | 50 | 0.015 | 0.005 | 0.005 | 0.005 | 1 |  | Non-vortexed | 400 | 15 | 500 | 22 |  | 400 | 5 | 500 | 7
|  | 14 | 50 | 0.01 | 0.004 | 0.004 | 0.003 | 1.3333 |  | Vortexed* | 400 | 12 | 500 | 13 |  | 400 | 20 | 500 | 10
| Add. 400 | 15 | 50 | 0.014 | 0.004 | 0.004 | 0.003 | 1.3333 |  | Additional FG3 | 100 |  | 100 |  |  | 100 |  | 100
|  | 16 | 50 | 0.051 | 0.008 | 0.007 | 0.004 | 2 |  | " | 500 |  | 400 |  |  | 500 |  | 400
|  | 17 | 50 | 0.046 | 0.016 | 0.016 | 0.013 | 1.2308 |  | NOTE: Cross reference sample id. In the table opposite (left)
|  | 18 | 50 | 0.01 | 0 | 0 | 0 | 0 |  | *Vortexing speed was at maximum rate for at least 50 secs.
|  | 19 | 50 | 0.01 | 0.007 | 0.006 | 0.004 | 1.75
| Fresh 1000 V | 20 | 50 | 0.004 | 0.003 | 0.002 | 0.002 | 1.5
|  | 21 | 50 | 0.01 | 0 | 0 | 0 | 0
| Add. 500 | 22 | 50 | 0.011 | 0 | 0 | 0.001 | 0
|  | 23 | 50 | 0.022 | 0.007 | 0.006 | 0.005 | 1.4
Red mark |  | 24 | 50 | 0.018 | 0.018 | 0.011 | 0.009 | 2
|  | Median |  | 0.0145 | 0.006 | 0.0055 | 0.004 | 1.25
|  | STDEV |  | 0.018146 | 0.010121 | 0.0091674 | 0.0082435 | 0.6592
|  | AV |  | 0.020667 | 0.0089167 | 0.0080417 | 0.0067083 | 1.096
Note on I29: Jess: Not sure whether this formula is relevant or whether it would be better to continue the 260/280 formula for the median, Stdev and Average.

## TEST 2 (T2)
TEST 2 (volume used in this UV spectrophotometer was doubled as the samples contained greater liquid content than tests 1, 3 and 4)
Table 2a: Test occurred using 100 ul of sample.
|  | Sample id. | v (ul) | 230 | 260 | 270 | 280 | 260/280 |  | NOTE: 'Red mark' indicates sample with DNA pellet which was particularly difficult to breakup by vortexing.
Lower volume |  | 1 | 100 | 0.058 | 0.018 | 0.019 | 0.017 | 1.0588
|  | Table 2b: Test using 150 ul of sample | [7 empty] | Table 2c: Repeat tests using 150 ul of sample
| Solid DNA pellet | Sample id. | v (ul) | 230 | 260 | 270 | 280 | 260/280 |  | NLIS tag | v | 230 | 260 | 270 | 280 | 260/280
| * | 1 | 150 | 0.1 | 0.045 | 0.046 | 0.043 | 1.0465 | Repeat | 1 | 150 | 0.1 | 0.037 | 0.035 | 0.031 | 1.1935
|  | 2 | 150 | 0.01 | 0.031 | 0.031 | 0.028 | 1.1071 | Repeat | 3 | 150 | 0.077 | 0.025 | 0.027 | 0.026 | 0.96154
| * | 3 | 150 | 0.155 | 0.048 | 0.044 | 0.039 | 1.2308 |  | Median |  | 0.0885 | 0.031 | 0.031 | 0.0285 | 1.0775
|  | 4 | 150 | 0.065 | 0.011 | 0.012 | 0.01 | 1.1 |  | STDEV |  | 0.016263 | 0.0084853 | 0.0056569 | 0.0035355 | 0.16406
|  | 5 | 150 | 0.138 | 0.028 | 0.033 | 0.032 | 0.875 |  | AV |  | 0.0885 | 0.031 | 0.031 | 0.0285 | 1.0775
|  | 6 | 150 | 0.142 | 0.027 | 0.033 | 0.031 | 0.87097
|  | 7 | 150 | 0.122 | 0.025 | 0.029 | 0.028 | 0.89286
|  | 8 | 150 | 0.083 | 0.02 | 0.023 | 0.021 | 0.95238 |  | IMPORTANT: TEST 2 samples were placed in rotating incubator for 1000 mins @ 64 d C at speed 6 on 10/09/2012
|  | 9 | 150 | 0.084 | 0.009 | 0.014 | 0.014 | 0.64286
|  | 10 | 150 | 0.057 | 0.002 | 0.007 | 0.008 | 0.25
|  | 11 | 150 | 0.071 | 0.012 | 0.017 | 0.018 | 0.66667
| * | 12 | 150 | 0.008 | -0.011 | -0.007 | -0.004 | 2.75
|  | 13 | 150 | 0.078 | 0.016 | 0.019 | 0.018 | 0.88889
Red mark |  | 14 | 150 | 0.087 | 0.01 | 0.014 | 0.014 | 0.71429
|  | 15 | 150 | 0.068 | 0.004 | 0.008 | 0.01 | 0.4
Red mark |  | 16 | 150 | 0.04 | -0.008 | -0.003 | -0.003 | 2.6667
|  | 17 | 150 | 0.126 | 0.035 | 0.036 | 0.028 | 1.25
| * | 18 | 150 | 0.114 | 0.028 | 0.033 | 0.031 | 0.90323
|  | 19 | 150 | 0.06 | 0.013 | 0.018 | 0.014 | 0.92857
|  | 20 | 150 | 0.051 | 0.001 | 0.014 | 0.019 | 0.052632
600 ul FG3 | * | 21 | 150 | 0.063 | 0.001 | 0.004 | 0.007 | 0.14286
| * | 22 | 150 | 0.102 | 0.011 | 0.018 | 0.021 | 0.52381
| * | 23 | 150 | 0.059 | 0.01 | 0.015 | 0.014 | 0.71429
| * | 24 | 150 | 0.062 | 0.008 | 0.01 | 0.007 | 1.1429
|  | Median |  | 0.0745 | 0.0115 | 0.0175 | 0.018 | 0.89087
|  | STDEV |  | 0.038314 | 0.015193 | 0.013771 | 0.0121 | 0.63202
|  | AV |  | 0.081042 | 0.015667 | 0.0195 | 0.018667 | 0.94638

## TEST 3 (T3)
TEST 3
TABLE 3a: Increased volume of test 3 (50ul/2ml H2O) in quartz cell
| Sample id. | v (ul) | 230 | 260 | 270 | 280 | 260/280 | TABLE 3b: Lower volume of test 3 (i.e. 20ul/2ml H2O) added to quartz cell
Not enough volume | 1 | 50 | [5 empty] | Sample id. | v (ul) | 230 | 260 | 270 | 280 | 260/280 | t-Test: Two-Sample Assuming Equal Variances
| 2 | 50 | 0.04 | 0.029 | 0.026 | 0.021 | 1.381 | 1 | 20 | 0.014 | 0.009 | 0.008 | 0.007 | 1.2857 | (Comparison between 20 and 50 ul i.e. table 3b and table 3c)
| 3 | 50 | 0.029 | 0.015 | 0.014 | 0.013 | 1.1538 | 2 | 20 | 0.014 | 0.01 | 0.009 | 0.007 | 1.4286 |  | Variable 1 | Variable 2
| 4 | 50 | 0.039 | 0.017 | 0.016 | 0.011 | 1.5455 | 3 | 20 | 0.007 | 0.002 | 0.002 | 0.002 | 1 | Mean | 0.023 | 0.006625
| 5 | 50 | 0.026 | 0.018 | 0.017 | 0.015 | 1.2 | 4 | 20 | 0.008 | 0.005 | 0.004 | 0.003 | 1.6667 | Variance | 0.00056767 | 9.9821e-06
| 6 | 50 | 0.019 | 0.01 | 0.009 | 0.007 | 1.4286 | 14 | 20 | 0.011 | 0.007 | 0.006 | 0.005 | 1.4 | Observations | 7 | 8
| 7 | 50 | 0.023 | 0.012 | 0.011 | 0.008 | 1.5 | 16 | 20 | 0.018 | 0.011 | 0.01 | 0.008 | 1.375 | Pooled Variance | 0.00026737
| 8 | 50 | 0.03 | 0.018 | 0.016 | 0.013 | 1.3846 | 23 | 20 | 0.012 | 0.005 | 0.005 | 0.004 | 1.25 | Hypothesized Mean Difference | 0
| 9 | 50 | 0.022 | 0.012 | 0.011 | 0.008 | 1.5 | 24 | 20 | 0.01 | 0.004 | 0.004 | 0.003 | 1.3333 | df | 13
| 10 | 50 | 0.025 | 0.014 | 0.013 | 0.01 | 1.4 | Median |  | 0.0115 | 0.006 | 0.0055 | 0.0045 | 1.3542 | t Stat | 1.9349
| 11 | 50 | 0.02 | 0.013 | 0.012 | 0.009 | 1.4444 | STDEV |  | 0.0035757 | 0.0031595 | 0.0027775 | 0.0022321 | 0.18747 | P(T<=t) one-tail | 0.037528
| 12 | 50 | 0.025 | 0.018 | 0.016 | 0.012 | 1.5 | AV |  | 0.01175 | 0.006625 | 0.006 | 0.004875 | 1.3424 | t Critical one-tail | 1.7709
| 13 | 50 | 0.016 | 0.007 | 0.007 | 0.005 | 1.4 | [7 empty] | P(T<=t) two-tail | 0.075056
| 14 | 50 | 0.028 | 0.015 | 0.015 | 0.011 | 1.3636 | Table 3c: These are samples (below) which are from table 3a for t-test comparison with table 3b. | [6 empty] | t Critical two-tail | 2.1604
| 15 | 50 | 0.02 | 0.014 | 0.012 | 0.009 | 1.5556 | Sample id. | v (ul) | 230 | 260 | 270 | 280 | 260/280
No repeat capable | 16 | 50 | 0.108 | 0.073 | 0.052 | 0.049 | 1.4898 | 1 | 50
| 17 | 50 | 0.029 | 0.025 | 0.026 | 0.017 | 1.4706 | 2 | 50 | 0.04 | 0.029 | 0.026 | 0.021 | 1.381
| 18 | 50 | 0.019 | 0.012 | 0.012 | 0.008 | 1.5 | 3 | 50 | 0.029 | 0.015 | 0.014 | 0.013 | 1.1538
| 19 | 50 | 0.021 | 0.013 | 0.011 | 0.009 | 1.4444 | 4 | 50 | 0.039 | 0.017 | 0.016 | 0.011 | 1.5455
| 20 | 50 | 0.031 | 0.019 | 0.017 | 0.013 | 1.4615 | 14 | 50 | 0.028 | 0.015 | 0.015 | 0.011 | 1.3636
| 21 | 50 | 0.026 | 0.014 | 0.013 | 0.01 | 1.4 | 16 | 50 | 0.108 | 0.073 | 0.052 | 0.049 | 1.4898
| 22 | 50 | 0.019 | 0.02 | 0.014 | 0.01 | 2 | 23 | 50 | 0.034 | 0.014 | 0.013 | 0.012 | 1.1667
| 23 | 50 | 0.034 | 0.014 | 0.013 | 0.012 | 1.1667 | 24 | 50 | -0.002 | -0.002 | -0.002 | -0.002 | 1
No repeat capable | 24 | 50 | -0.002 | -0.002 | -0.002 | -0.002 | 1 | Median |  | 0.034 | 0.015 | 0.015 | 0.012 | 1.3636
| Median |  | 0.025 | 0.014 | 0.013 | 0.01 | 1.4444 | STDEV |  | 0.033386 | 0.023826 | 0.016658 | 0.015873 | 0.19833
| STDEV |  | 0.019384 | 0.013513 | 0.0097664 | 0.0091598 | 0.1875 | AV |  | 0.039429 | 0.023 | 0.019143 | 0.016429 | 1.3001
| AV |  | 0.02813 | 0.017391 | 0.015261 | 0.012087 | 1.4213
* Highlight red to visually indicate odd readings.

## TEST 4 (FINAL)
t-Test: Two-Sample Assuming Equal Variances
NOTE: | TEST 4 UV spectrometer will be conducted on 24th Sept., as DNA was still present following 48 hrs heat treatment @ 55 d C, | [15 empty] | Compare 260 (Column F v's P)
| which requires further time to push beyond an expected threshold for dissolving the DNA pellets. The samples were | [16 empty] | Variable 1 | Variable 2
| placed into the refrigerator over the weekend. It is important to note that FG3 buffer was not increased, as the protocol advices further incubation if low buffer. | [15 empty] | Mean | 0.014273 | 0.012083
[17 empty] | Variance | 4.5618e-05 | 9.3902e-05
[17 empty] | Observations | 11 | 12
|  | Denotes samples used in tests 1 - 4 | [14 empty] | Pooled Variance | 7.0909e-05
[17 empty] | Hypothesized Mean Difference | 0
[17 empty] | df | 21
| Table 4a: Normal protease mix | [8 empty] | Table 4b: Double protease mix | [6 empty] | t Stat | 0.62287
| v (ul) | 230 | 260 | 270 | 280 | 260/280 | Sample id. | v (ul) | 230 | 260 | 270 | 280 | 260/280 | P(T<=t) one-tail | 0.27004
Sample id. | [13 empty] | t Critical one-tail | 1.7207
1 | 50 | 0.045 | 0.015 | 0.015 | 0.012 | 1.25 | 1 | 50 | 0.052 | 0.011 | 0.013 | 0.011 | 1 | P(T<=t) two-tail | 0.54008
2 | 50 | 0.063 | 0.022 | 0.022 | 0.018 | 1.2222 | 2 | 50 | 0.061 | 0.019 | 0.02 | 0.018 | 1.0556 | t Critical two-tail | 2.0796
3 | 50 | 0.047 | 0.023 | 0.022 | 0.016 | 1.4375 | 3 | 50 | 0.07 | 0.027 | 0.028 | 0.024 | 1.125
4 | 50 | 0.035 | 0.013 | 0.012 | 0.009 | 1.4444 | 4 | 50 | 0.031 | 0.007 | 0.009 | 0.008 | 0.875 | t-Test: Two-Sample Assuming Equal Variances
5 | 50 | [5 empty] | 5 | 50 | 0.035 | 0.006 | 0.008 | 0.008 | 0.75 | Compare 280 (Column H v's R)
6 | 50 | 0.039 | 0.012 | 0.012 | 0.009 | 1.3333 | 6 | 50 | 0.037 | 0.009 | 0.011 | 0.01 | 0.9 |  | Variable 1 | Variable 2
7 | 50 | 0.035 | 0.008 | 0.009 | 0.008 | 1 | 7 | 50 | 0.034 | 0.014 | 0.014 | 0.012 | 1.1667 | Mean | 0.011091 | 0.012333
8 | 50 | 0.039 | 0.017 | 0.016 | 0.012 | 1.4167 | 8 | 50 | 0.037 | 0.003 | 0.005 | 0.006 | 0.5 | Variance | 2.0291e-05 | 5.0606e-05
9 | 50 | 0.034 | 0.003 | 0.005 | 0.004 | 0.75 | 9 | 50 | 0.032 | -0.001 | 0.003 | 0.004 | -0.25 | Observations | 11 | 12
10 | 50 | 0.031 | 0.008 | 0.008 | 0.006 | 1.3333 | 10 | 50 | 0.03 | 0.004 | 0.006 | 0.006 | 0.66667 | Pooled Variance | 3.617e-05
11 | 50 | 0.046 | 0.012 | 0.013 | 0.011 | 1.0909 | 11 | 50 | 0.051 | 0.015 | 0.016 | 0.015 | 1 | Hypothesized Mean Difference | 0
12 | 50 | 0.042 | 0.024 | 0.023 | 0.017 | 1.4118 | 12 | 50 | 0.064 | 0.031 | 0.03 | 0.026 | 1.1923 | df | 21
13 | 50 | 0.028 | 0.007 | 0.007 | 0.005 | 1.4 | Median |  | 0.037 | 0.01 | 0.012 | 0.0105 | 0.95 | t Stat | -0.4949
14 | 50 | 0.049 | 0.013 | 0.014 | 0.011 | 1.1818 | STDEV |  | 0.014343 | 0.0096903 | 0.0086703 | 0.0071138 | 0.3995 | P(T<=t) one-tail | 0.3129
15 | 50 | 0.03 | 0.009 | 0.009 | 0.006 | 1.5 | AV |  | 0.0445 | 0.012083 | 0.013583 | 0.012333 | 0.83177 | t Critical one-tail | 1.7207
16 | 50 | 0.042 | 0.016 | 0.015 | 0.012 | 1.3333 | [7 empty] | P(T<=t) two-tail | 0.62581
17 | 50 | 0.036 | 0.014 | 0.014 | 0.011 | 1.2727 | [7 empty] | t Critical two-tail | 2.0796
18 | 50 | 0.058 | 0.027 | 0.027 | 0.023 | 1.1739
19 | 50 | 0.038 | 0.011 | 0.013 | 0.009 | 1.2222 | [7 empty] | t-Test: Two-Sample Assuming Equal Variances
20 | 50 | 0.05 | 0.013 | 0.015 | 0.015 | 0.86667 | [7 empty] | (260/280 comparison i.e. J v's S. Only samples 5 - 62)
21 | 50 | 0.082 | 0.004 | 0.008 | 0.011 | 0.36364 | [8 empty] | Variable 1 | Variable 2
22 | 50 | 0.034 | 0.01 | 0.011 | 0.012 | 0.83333 | [7 empty] | Mean | 1.2009 | 0.83177
23 | 50 | 0.037 | 0.017 | 0.016 | 0.014 | 1.2143 | [7 empty] | Variance | 0.048091 | 0.1596
24 | 50 | 0.013 | 0.003 | 0.004 | 0.003 | 1 | [7 empty] | Observations | 9 | 12
25 | 50 | 0.042 | 0.018 | 0.018 | 0.015 | 1.2 | [7 empty] | Pooled Variance | 0.11265
26 | 50 | 0.019 | 0.007 | 0.008 | 0.007 | 1 | [7 empty] | Hypothesized Mean Difference | 0
27 | 50 | 0.036 | 0.018 | 0.018 | 0.015 | 1.2 | [7 empty] | df | 19
28 | 50 | 0.025 | 0.01 | 0.011 | 0.008 | 1.25 | [7 empty] | t Stat | 2.4943
29 | 50 | 0.037 | 0.003 | 0.006 | 0.007 | 0.42857 | [7 empty] | P(T<=t) one-tail | 0.011003
30 | 50 | 0.029 | 0.004 | 0.006 | 0.004 | 1 | [7 empty] | t Critical one-tail | 1.7291
31 | 50 | 0.035 | 0.014 | 0.015 | 0.012 | 1.1667 | [7 empty] | P(T<=t) two-tail | 0.022005
32 | 50 | 0.03 | 0.012 | 0.012 | 0.009 | 1.3333 | [7 empty] | t Critical two-tail | 2.093
33 | 50 | 0.051 | 0.009 | 0.011 | 0.01 | 0.9
34 | 50 | 0.035 | 0.011 | 0.013 | 0.01 | 1.1
35 | 50 | 0.061 | 0.012 | 0.015 | 0.014 | 0.85714
36 | 50 | 0.052 | 0.009 | 0.012 | 0.011 | 0.81818
37 | 50 | 0.042 | 0.005 | 0.008 | 0.006 | 0.83333
38 | 50 | 0.038 | 0.011 | 0.012 | 0.01 | 1.1
39 | 50 | 0.033 | 0.002 | 0.005 | 0.005 | 0.4
40 | 50 | 0.031 | -0.001 | 0.003 | 0.004 | -0.25
41 | 50 | 0.047 | 0.005 | 0.008 | 0.008 | 0.625
42 | 50 | 0.039 | 0.014 | 0.017 | 0.011 | 1.2727
43 | 50 | 0.051 | 0.016 | 0.017 | 0.014 | 1.1429
44 | 50 | 0.041 | 0.008 | 0.011 | 0.009 | 0.88889
45 | 50 | 0.017 | -0.006 | -0.003 | -0.002 | 3
46 | 50 | 0.05 | 0.012 | 0.014 | 0.012 | 1
47 | 50 | 0.061 | 0.016 | 0.018 | 0.016 | 1
48 | 50 | 0.052 | 0.006 | 0.009 | 0.008 | 0.75
49 | 50 | 0.048 | 0.019 | 0.019 | 0.016 | 1.1875
50 | 50 | 0.038 | 0.011 | 0.012 | 0.011 | 1
51 | 50 | 0.065 | 0.03 | 0.029 | 0.024 | 1.25
52 | 50 | 0.042 | 0.018 | 0.019 | 0.014 | 1.2857
53 | 50 | 0.049 | 0.019 | 0.02 | 0.017 | 1.1176
54 | 50 | 0.034 | 0.016 | 0.016 | 0.013 | 1.2308
55 | 50 | 0.045 | 0.026 | 0.025 | 0.02 | 1.3
56 | 50 | 0.031 | 0.008 | 0.009 | 0.008 | 1
57 | 50 | 0.037 | 0.015 | 0.015 | 0.012 | 1.25
58 | 50 | 0.038 | 0.007 | 0.009 | 0.008 | 0.875
59 | 50 | 0.045 | 0.012 | 0.014 | 0.012 | 1
60 | 50 | 0.062 | 0.023 | 0.024 | 0.02 | 1.15
61 | 50 | 0.046 | 0.018 | 0.018 | 0.014 | 1.2857
62 | 50 | 0.04 | 0.021 | 0.02 | 0.015 | 1.4
63 | 50 | 0.049 | 0.004 | 0.007 | 0.007 | 0.57143
| Median | 0.039 | 0.012 | 0.013 | 0.011 | 1.1583
| STDEV | 0.012054 | 0.0071038 | 0.0061726 | 0.0049034 | 0.3963
| AV | 0.041492 | 0.012262 | 0.013361 | 0.011082 | 1.0963

## Master mix data
Master mix
# of samples
N + 1ul
| 1 | 10 |  | [DNA] = VDNA/Vcuvette x 50 x A260
Polymerase | 25 | 250
Primer F | 1 | 25 | Example: | [DNA] = 20/2000 x 50 x 0.1
Primer R | 1 | 25 |  | =1/100 x 50 x 0.1
Water | 22 | 220 |  | =0.5 x 0.1
Template | 1 |  |  | =0.05 ug/ul | CONVERSION WEBSITE
TOTAL | 50 | 520 |  | =50 ng/ul | http://www.endmemo.com/sconvert/ug_ulng_ul.php
*Vortex master mix

## Master mix calculations
|  | Base calculation |  | =20/2000*50
Table 5a: UV absorbance readings for 260 nanometres. |  |  |  |  | Table 5b: Calculations based on master mix data.
Sample | TEST 1 | TEST 2 | TEST 3 | TEST 4 | Sample | Test 1 | Test 2 | Test 3 | Test 4
id. | 260 (nm) | 260 (nm) | 260 (nm) | 260 (nm) | id.
1 | 0.044 | 0.045 |  | 0.015 | 1 | 0.022 | 0.0225 | 0 | 0.0075
2 | 0.021 | 0.031 | 0.029 | 0.022 | 2 | 0.0105 | 0.0155 | 0.0145 | 0.011
3 | 0.01 | 0.048 | 0.015 | 0.023 | 3 | 0.005 | 0.024 | 0.0075 | 0.0115
4 | 0.007 | 0.011 | 0.017 | 0.013 | 4 | 0.0035 | 0.0055 | 0.0085 | 0.0065
5 | -0.001 | 0.028 | 0.018 |  | 5 | -0.0005 | 0.014 | 0.009 | 0
6 | 0.012 | 0.027 | 0.01 | 0.012 | 6 | 0.006 | 0.0135 | 0.005 | 0.006
7 | 0.005 | 0.025 | 0.012 | 0.008 | 7 | 0.0025 | 0.0125 | 0.006 | 0.004
8 | 0.016 | 0.02 | 0.018 | 0.017 | 8 | 0.008 | 0.01 | 0.009 | 0.0085
9 | 0.022 | 0.009 | 0.012 | 0.003 | 9 | 0.011 | 0.0045 | 0.006 | 0.0015
10 | 0.002 | 0.002 | 0.014 | 0.008 | 10 | 0.001 | 0.001 | 0.007 | 0.004
11 | 0 | 0.012 | 0.013 | 0.012 | 11 | 0 | 0.006 | 0.0065 | 0.006
12 | 0.004 | -0.011 | 0.018 | 0.024 | 12 | 0.002 | -0.0055 | 0.009 | 0.012
13 | 0.005 | 0.016 | 0.007 | 0.007 | 13 | 0.0025 | 0.008 | 0.0035 | 0.0035
14 | 0.004 | 0.01 | 0.015 | 0.013 | 14 | 0.002 | 0.005 | 0.0075 | 0.0065
15 | 0.004 | 0.004 | 0.014 | 0.009 | 15 | 0.002 | 0.002 | 0.007 | 0.0045
16 | 0.008 | -0.008 | 0.073 | 0.016 | 16 | 0.004 | -0.004 | 0.0365 | 0.008
17 | 0.016 | 0.035 | 0.025 | 0.014 | 17 | 0.008 | 0.0175 | 0.0125 | 0.007
18 | 0 | 0.028 | 0.012 | 0.027 | 18 | 0 | 0.014 | 0.006 | 0.0135
19 | 0.007 | 0.013 | 0.013 | 0.011 | 19 | 0.0035 | 0.0065 | 0.0065 | 0.0055
20 | 0.003 | 0.001 | 0.019 | 0.013 | 20 | 0.0015 | 0.0005 | 0.0095 | 0.0065
21 | 0 | 0.001 | 0.014 | 0.004 | 21 | 0 | 0.0005 | 0.007 | 0.002
22 | 0 | 0.011 | 0.02 | 0.01 | 22 | 0 | 0.0055 | 0.01 | 0.005
23 | 0.007 | 0.01 | 0.014 | 0.017 | 23 | 0.0035 | 0.005 | 0.007 | 0.0085
24 | 0.018 | 0.008 | -0.002 | 0.003 | 24 | 0.009 | 0.004 | -0.001 | 0.0015
Sample | TEST 1 | TEST 2 | TEST 3 | TEST 4 | Sample | Test 1 | Test 2 | Test 3 | Test 4
id. | 260 (nm) | 260 (nm) | 260 (nm) | 260 (nm) | id.
25 | N/A |  |  | 0.018 | 25 |  |  |  | 0.009
26 |  |  |  | 0.007 | 26 |  |  |  | 0.0035
27 |  |  |  | 0.018 | 27 |  |  |  | 0.009
28 |  |  |  | 0.01 | 28 |  |  |  | 0.005
29 |  |  |  | 0.003 | 29 |  |  |  | 0.0015
30 |  |  |  | 0.004 | 30 |  |  |  | 0.002
31 |  |  |  | 0.014 | 31 |  |  |  | 0.007
32 |  |  |  | 0.012 | 32 |  |  |  | 0.006
33 |  |  |  | 0.009 | 33 |  |  |  | 0.0045
34 |  |  |  | 0.011 | 34 |  |  |  | 0.0055
35 |  |  |  | 0.012 | 35 |  |  |  | 0.006
36 |  |  |  | 0.009 | 36 |  |  |  | 0.0045
37 |  |  |  | 0.005 | 37 |  |  |  | 0.0025
38 |  |  |  | 0.011 | 38 |  |  |  | 0.0055
39 |  |  |  | 0.002 | 39 |  |  |  | 0.001
40 |  |  |  | -0.001 | 40 |  |  |  | -0.0005
41 |  |  |  | 0.005 | 41 |  |  |  | 0.0025
42 |  |  |  | 0.014 | 42 |  |  |  | 0.007
43 |  |  |  | 0.016 | 43 |  |  |  | 0.008
44 |  |  |  | 0.008 | 44 |  |  |  | 0.004
45 |  |  |  | -0.006 | 45 |  |  |  | -0.003
46 |  |  |  | 0.012 | 46 |  |  |  | 0.006
47 |  |  |  | 0.016 | 47 |  |  |  | 0.008
48 |  |  |  | 0.006 | 48 |  |  |  | 0.003
49 |  |  |  | 0.019 | 49 |  |  |  | 0.0095
50 |  |  |  | 0.011 | 50 |  |  |  | 0.0055
51 |  |  |  | 0.03 | 51 |  |  |  | 0.015
52 |  |  |  | 0.018 | 52 |  |  |  | 0.009
53 |  |  |  | 0.019 | 53 |  |  |  | 0.0095
54 |  |  |  | 0.016 | 54 |  |  |  | 0.008
55 |  |  |  | 0.026 | 55 |  |  |  | 0.013
56 |  |  |  | 0.008 | 56 |  |  |  | 0.004
57 |  |  |  | 0.015 | 57 |  |  |  | 0.0075
58 |  |  |  | 0.007 | 58 |  |  |  | 0.0035
59 |  |  |  | 0.012 | 59 |  |  |  | 0.006
60 |  |  |  | 0.023 | 60 |  |  |  | 0.0115
61 |  |  |  | 0.018 | 61 |  |  |  | 0.009
62 |  |  |  | 0.021 | 62 |  |  |  | 0.0105
63 |  |  |  | 0.004 | 63 |  |  |  | 0.002
N/A - No data recorded for samples 25 - 63 in Test 1-3