## Bid Proposal
ITEM | DESCRIPTION | UNIT | QTY | UNIT PRICE | TOTAL
1 | 4" PVC SEWER SDR-35* | LF | 100 |  | 0
2 | 4" PVC SCHEDULE 40* | LF | 50 |  | 0
3 | 6" PVC SEWER SDR-35* | LF | 50 |  | 0
4 | 6" C900 SDR 18 SEWER PIPE (PURPLE PIPE)* | LF | 20 |  | 0
5 | 8" PVC SEWER SDR-35* | LF | 1500 |  | 0
6 | 8" PVC C900 SDR 18 SEWER (PURPLE PIPE)* | LF | 40 |  | 0
7 | 10" PVC SEWER SDR-35* | LF | 20 |  | 0
8 | 10" PVC C900 SDR 18 SEWER (PURPLE PIPE)* | LF | 100 |  | 0
9 | 12" PVC SEWER SDR-35* | LF | 1500 |  | 0
10 | 12" PVC C900 SDR 18 SEWER (PURPLE PIPE)* | LF | 250 |  | 0
11 | 15" PVC SEWER SDR-35* | LF | 20 |  | 0
12 | 18" PVC SEWER SDR-35* | LF | 500 |  | 0
13 | 21" PVC SEWER SDR-35* | LF | 500 |  | 0
14 | 24" PVC SEWER SDR-35* | LF | 20 |  | 0
15 | 36" SEWER PIPE * | LF | 20 |  | 0
16 | TRANSPORT & INSTALL CITY FURNISHED 8" PVC SEWER* | LF | 250 |  | 0
17 | 8" PVC SEWER SDR-35 (MATERIAL ONLY) | LF | 500 |  | 0
18 | TRENCH & BACKFILL 0'- 6' DEEP | LF | 2500 |  | 0
19 | TRENCH & BACKFILL 6'- 8' DEEP | LF | 1000 |  | 0
20 | TRENCH & BACKFILL 8'-10' DEEP | LF | 750 |  | 0
21 | TRENCH & BACKFILL 10'-12' DEEP | LF | 100 |  | 0
22 | TRENCH & BACKFILL 12'-14' DEEP | LF | 100 |  | 0
23 | TRENCH & BACKFILL 14'-16' DEEP | LF | 100 |  | 0
24 | TRENCH & BACKFILL 16'-18' DEEP | LF | 50 |  | 0
25 | TRENCH & BACKFILL 18'- 20' DEEP | LF | 50 |  | 0
26 | TRENCH & BACKFILL OVER 20' DEEP | LF | 50 |  | 0
27 | 4" PVC SEWER SERVICE, 0'- 25' PVC | EA | 40 |  | 0
28 | 4" SEWER SERVICE TAPPING SADDLE | EA | 40 |  | 0
29 | SEWER SERVICE CLEANOUT 3" OR 4" CIP/PVC SINGLE | EA | 5 |  | 0
30 | SEWER SERVICE CLEANOUT 3" OR 4" CIP/PVC DOUBLE | EA | 5 |  | 0
31 | SEWER SERVICE REPAIRS SLIPPED TAPS 0'- 6' | EA | 15 |  | 0
32 | SEWER SERVICE RPRS SLIPPED TAPS 6'- 8' | EA | 10 |  | 0
33 | SEWER SERVICE RPRS SLIPPED TAPS 8'-10' | EA | 1 |  | 0
34 | SEWER SERVICE RPRS SLIPPED TAPS 10'-12' | EA | 1 |  | 0
35 | SEWER SERVICE RPRS SLIPPED TAPS OVER 12' DEEP | EA | 1 |  | 0
36 | SEWER MAINLINE REPAIR LENGTH UP TO 20LF - DEPTH 0'- 6' | EA | 10 |  | 0
37 | SEWER MAINLINE REPAIR LENGTH UP TO 20LF - DEPTH 6.1'- 8' | EA | 10 |  | 0
38 | SEWER MAINLINE REPAIR LENGTH UP TO 20LF - DEPTH 8.1'- 10' | EA | 5 |  | 0
39 | SEWER MAINLINE REPAIR LENGTH UP TO 20LF - DEPTH 10.1'- 12' | EA | 5 |  | 0
40 | SEWER MAINLINE REPAIR LENGTH UP TO 20LF - DEPTH OVER 12.1' | EA | 5 |  | 0
41 | 1 1/4" HDPE - SDR-7* | LF | 100 |  | 0
42 | 2" HDPE - SDR-7* | LF | 500 |  | 0
43 | 3" HDPE - SDR-7* | LF | 500 |  | 0
44 | 4" HDPE - SDR-7* | LF | 500 |  | 0
45 | 6" HDPE - SDR-7* | LF | 100 |  | 0
46 | 8" HDPE - SDR-11* | LF | 250 |  | 0
47 | FITTINGS FOR HDPE - SIZE 1 1/4" THRU 3" - ALL TYPES | EA | 5 |  | 0
48 | VALVE FOR HDPE - SIZE 1 1/4" THRU 3" - ALL TYPES | EA | 5 |  | 0
49 | FITTINGS FOR HDPE - SIZE 4" - ALL TYPES | EA | 5 |  | 0
50 | VALVE FOR HDPE - SIZE 4" - ALL TYPES | EA | 5 |  | 0
51 | FITTINGS FOR HDPE - SIZE 6" - ALL TYPES | EA | 5 |  | 0
52 | VALVE FOR HDPE - SIZE 6" - ALL TYPES | EA | 5 |  | 0
53 | FITTINGS FOR HDPE - SIZE 8" - ALL TYPES | EA | 5 |  | 0
54 | VALVE FOR HDPE - SIZE 8" - ALL TYPES | EA | 5 |  | 0
55 | TYPE-A M.H. 4' DIAMETER 0'- 3' | EA | 2 |  | 0
56 | TYPE-B M.H. 4' DIAMETER 3'- 6' | EA | 5 |  | 0
57 | TYPE-E M.H. 4' DIAMETER 6'- 8' | EA | 10 |  | 0
58 | ADDITIONAL DEPTH PER FOOT, TYPE E M.H. | VF | 10 |  | 0
59 | FURNISH & INSTALL RELINER BRAND DROP BOWL COMP IN PLACE NEW OR REHAB - ALL TYPE MANHOLES | EA | 3 |  | 0
60 | TYPE-B M.H. 6' DIAMETER 3'- 6' | EA | 1 |  | 0
61 | TYPE-E M.H. 6' DIAMETER 6'- 8' | EA | 1 |  | 0
62 | ADDITIONAL DEPTH PER FOOT, TYPE E M.H. | VF | 5 |  | 0
63 | RESHAPE MANHOLE INVERTS | EA | 5 |  | 0
64 | PUMP SEWAGE BETWEEN M.H. | HR | 50 |  | 0
65 | REMOVE & REPLACE EXISTING M.H. RING & COVER | EA | 1 |  | 0
66 | REPLACE M.H. CONES/FLATTOP W/ RING & COVER 4' DIA . | EA | 1 |  | 0
67 | REPLACE M.H. CONES/FLATTOPS W/O RING & COVER | EA | 1 |  | 0
68 | RECONSTRUCT M.H.-LESS BASE "A" 4' DIA. 0'-3' | EA | 1 |  | 0
69 | RECONSTRUCT M.H.-LESS BASE "A" 6' DIA. 0'-3' | EA | 1 |  | 0
70 | RECONSTRUCT M.H.-LESS BASE "B" 4' DIA. 3'-6' | EA | 1 |  | 0
71 | RECONSTRUCT M.H.-LESS BASE "B" 6' DIA. 3'-6' | EA | 1 |  | 0
72 | RECONSTRUCT M.H.-LESS BASE "E" 4' DIA. 6'-8' | EA | 1 |  | 0
73 | RECONSTRUCT M.H.-LESS BASE "E" 6' DIA. 6'-8' | EA | 1 |  | 0
74 | REMOVE OR ABANDON M.H. | EA | 5 |  | 0
75 | 8" THRU 15" WET OR DRY CONN. NEW SEWER TO EXISTING M.H . | EA | 15 |  | 0
76 | 18" THRU 24" WET OR DRY CONN. NEW SEWER TO EXISTING M.H. | EA | 5 |  | 0
77 | 8"PVC PERFORATED SDR-35* | LF | 50 |  | 0
78 | 12" RCP* | LF | 20 |  | 0
79 | 12" SMOOTH INTERIOR POLYETHYLENE, ADS N-12* | LF | 20 |  | 0
80 | 15" RCP* | LF | 20 |  | 0
81 | 15" SMOOTH INTERIOR POLYETHYLENE, ADS N-12* | LF | 20 |  | 0
82 | 18" RCP* | LF | 20 |  | 0
83 | 18" SMOOTH INTERIOR POLYETHYLENE, ADS N-12* | LF | 100 |  | 0
84 | 24" RCP* | LF | 20 |  | 0
85 | 24" SMOOTH INTERIOR POLYETHYLENE, ADS N-12* | LF | 200 |  | 0
86 | 30" RCP* | LF | 20 |  | 0
87 | 30" SMOOTH INTERIOR POLYETHYLENE, ADS N-12* | LF | 20 |  | 0
88 | 36" RCP* | LF | 20 |  | 0
89 | 36" SMOOTH INTERIOR POLYETHYLENE, ADS N-12* | LF | 20 |  | 0
90 | 48" RCP* | LF | 20 |  | 0
91 | 48" SMOOTH INTERIOR POLYETHYLENE, ADS N-12* | LF | 200 |  | 0
92 | 54" RCP * | LF | 20 |  | 0
93 | 60" SMOOTH INTERIOR POLYETHYLENE, ADS N-12* | LF | 100 |  | 0
94 | INSTALL CITY FURNISHED PIPE ALL TYPES <40" INSIDE DIA.* | LF | 50 |  | 0
95 | INSTALL CITY FURNISHED PIPE ALL TYPES >40" INSIDE DIA.* | LF | 50 |  | 0
96 | CURB INLET-SINGLE OR SINGLE SURF. INLET | EA | 3 |  | 0
97 | CURB INLET-DOUBLE OR DBL SURF. INLET | EA | 3 |  | 0
98 | FURNISH & INSTALL NEW DROP INLET FRAME & GRATE REMOVE EXISTING FRAME & GRATE | EA | 2 |  | 0
99 | REM., SEP. & DISP. PIPE 8" OR SMALLER PIPE, FITTINGS , VALVES, ALL TYPES & DEPTHS (EXCLUDES A.C. PIPE) | LF | 3000 |  | 0
100 | REM., SEP. & DISP. PIPE 10" OR LARGER PIPE, FITTINGS , VALVES, ALL TYPES & DEPTHS (EXCLUDES A.C. PIPE) | LF | 500 |  | 0
101 | PUMP WATER FROM EXCAVATION | HR | 25 |  | 0
102 | SEWER/WATER ENCASEMENT, 4" THRU 18" PIPE | LF | 20 |  | 0
103 | SEWER/WATER ENCASEMENT, 20" THRU 36" | LF | 10 |  | 0
104 | CONCRETE PIPE COLLAR 16" DIA. OR SMALLER | EA | 2 |  | 0
105 | CONCRETE PIPE COLLAR OVER 16" DIA. | EA | 2 |  | 0
106 | 4" WATER MAIN DR-18 | LF | 100 |  | 0
107 | 6" PVC WATER MAIN DR-18 | LF | 250 |  | 0
108 | 6" DIP WATER MAIN CLASS 350 | LF | 50 |  | 0
109 | 8" PVC WATER MAIN DR-18 | LF | 1000 |  | 0
110 | 8" DIP WATER MAIN CLASS 350 | LF | 50 |  | 0
111 | 10" PVC WATER MAIN DR-18 | LF | 100 |  | 0
112 | 10" DIP WATER MAIN CLASS 350 | LF | 50 |  | 0
113 | 12" PVC WATER MAIN DR-18 | LF | 3000 |  | 0
114 | 12" DIP WATER MAIN CLASS 350 | LF | 20 |  | 0
115 | 16" DIP WATER MAIN CLASS 300 | LF | 20 |  | 0
116 | 16" PVC WATER MAIN C-905 DR-18 | LF | 750 |  | 0
117 | 18" PVC WATER MAIN C-905 DR-18 | LF | 500 |  | 0
118 | 18" DIP WATER MAIN CLASS 300 | LF | 20 |  | 0
119 | 24" PVC WATER MAIN C-905 DR-18 | LF | 1000 |  | 0
120 | 24" DIP WATER MAIN CLASS 300 | LF | 100 |  | 0
121 | 30" PVC WATER MAIN C-905 DR-18 | LF | 100 |  | 0
122 | TRANSPORT & INSTALL CITY FURNISHED 6" PVC WATER | LF | 200 |  | 0
123 | TRANSPORT & INSTALL CITY FURNISHED 8" PVC WATER | LF | 200 |  | 0
124 | TRANSPORT & INSTALL CITY FURNISHED 12" PVC WATER | LF | 200 |  | 0
125 | TRANSPORT & INSTALL CITY FURNISHED 24" PVC WATER | LF | 200 |  | 0
126 | 6" PVC WATER DR-18 (MATERIAL ONLY) | LF | 500 |  | 0
127 | 8" PVC WATER DR-18 (MATERIAL ONLY) | LF | 500 |  | 0
128 | 12" PVC WATER DR-18 (MATERIAL ONLY) | LF | 500 |  | 0
129 | 6" WET TAP (SADDLE SIZE) | EA | 5 |  | 0
130 | 8" WET TAP (SADDLE SIZE) | EA | 5 |  | 0
131 | 10" WET TAP (SADDLE SIZE) | EA | 5 |  | 0
132 | 12" WET TAP (SADDLE SIZE) | EA | 2 |  | 0
133 | 16" WET TAP (SADDLE SIZE) | EA | 1 |  | 0
134 | 18" WET TAP (SADDLE SIZE) | EA | 1 |  | 0
135 | 24" WET TAP (SADDLE SIZE) | EA | 2 |  | 0
136 | 30" WET TAP (SADDLE SIZE) | EA | 1 |  | 0
137 | 4" GATE VALVE W/ BOX | EA | 2 |  | 0
138 | 6" GATE VALVE W/ BOX | EA | 10 |  | 0
139 | 8" GATE VALVE W/ BOX | EA | 20 |  | 0
140 | 10" GATE VALVE W/ BOX | EA | 1 |  | 0
141 | 12" GATE VALVE W/ BOX | EA | 2 |  | 0
142 | 12" BUTTERFLY W/ BOX | EA | 5 |  | 0
143 | 16" BUTTERFLY W/ BOX | EA | 2 |  | 0
144 | 18" BUTTERFLY W/BOX | EA | 2 |  | 0
145 | 24" BUTTERFLY W/ BOX | EA | 3 |  | 0
146 | 30" BUTTERFLY W/ BOX | EA | 1 |  | 0
147 | REMOVE & REPLACE VALVE BOX W/ COVER | EA | 5 |  | 0
148 | INSTALL CITY FURNISHED VALVE ALL SIZES & TYPES | EA | 1 |  | 0
149 | IRON FITTINGS, 12" DIA. & UNDER | LB | 10000 |  | 0
150 | IRON FITTINGS, 14" DIA. & UP | LB | 10000 |  | 0
151 | 4" DRESSER COUPLING | EA | 5 |  | 0
152 | 4" MEGALUG (DUCTILE OR PVC) | EA | 15 |  | 0
153 | 6" MEGALUG (DUCTILE OR PVC) | EA | 100 |  | 0
154 | 8" MEGALUG (DUCTILE OR PVC) | EA | 200 |  | 0
155 | 10" MEGALUG (DUCTILE OR PVC) | EA | 10 |  | 0
156 | 12" MEGALUG (DUCTILE OR PVC) | EA | 50 |  | 0
157 | 16" MEGALUG (DUCTILE OR PVC) | EA | 15 |  | 0
158 | 18" MEGALUG (DUCTILE OR PVC) | EA | 5 |  | 0
159 | 24" MEGALUG (DUCTILE OR PVC) | EA | 5 |  | 0
160 | 30" MEGALUG (DUCTILE OR PVC) | EA | 5 |  | 0
161 | WATER SERVICE CONNECTION 5/8" D-220, INCLUDES TRENCH AND BACKFILL,TAP SADDLE, CORP STOP AND UP TO 25' PIPE, CURB STOP, METER CAN AND COPPER METER YOKE, TRACE WIRE | EA | 10 |  | 0
162 | WATER SERVICE CONNECTION 5/8" D-220, INCLUDES TRENCH AND BACKFILL,TAP SADDLE, CORP STOP AND UP TO 25' AQUAPEX "A" PIPE, CURB STOP AND TRACE WIRE | EA | 25 |  | 0
163 | WATER SERVICE CONNECTION 1" D-221, INCLUDES TRENCH AND BACKFILL,TAP SADDLE, CORP STOP AND UP TO 25' PIPE, CURB STOP, METER CAN AND COPPER METER YOKE, TRACE WIRE | EA | 10 |  | 0
164 | WATER SERVICE CONNECTION 1" D-221, INCLUDES TRENCH AND BACKFILL,TAP SADDLE, CORP STOP AND UP TO 25' AQUAPEX "A" PIPE, CURB STOP AND TRACE WIRE | EA | 25 |  | 0
165 | ADD'L LENGTH OF SERVICE PIPE FOR 5/8" & 1" SERVICES | LF | 150 |  | 0
166 | WATER SERVICE CONNECTION 1 1/2" D-222, INCLUDES TRENCH AND BACKFILL,TAP SADDLE, CORP STOP AND UP TO 25' PIPE, CURB STOP, METER CAN AND COPPER METER YOKE, TRACE WIRE | EA | 2 |  | 0
167 | WATER SERVICE CONNECTION 1 1/2" D-222, INCLUDES TRENCH AND BACKFILL,TAP SADDLE, CORP STOP AND UP TO 25' AQUAPEX "A" PIPE, CURB STOP AND TRACE WIRE | EA | 10 |  | 0
168 | WATER SERVICE CONNECTION 2" D-223, INCLUDES TRENCH AND BACKFILL,TAP SADDLE, CORP STOP AND UP TO 25' PIPE, CURB STOP, METER CAN AND COPPER METER YOKE, TRACE WIRE | EA | 2 |  | 0
169 | WATER SERVICE CONNECTION 2" D-223, INCLUDES TRENCH AND BACKFILL,TAP SADDLE, CORP STOP AND UP TO 25' AQUAPEX "A" PIPE, CURB STOP AND TRACE WIRE | EA | 5 |  | 0
170 | ADD'L LENGTH OF SERVICE PIPE FOR 1-1/2" & 2" SERVICE | LF | 150 |  | 0
171 | 1" CORPORATION STOP WITH SADDLE | EA | 5 |  | 0
172 | 1.5" CORPORATION STOP WITH SADDLE | EA | 2 |  | 0
173 | 2" CORPORATION STOP WITH SADDLE | EA | 2 |  | 0
174 | PHYS. SEPARATE EXISTING WATERLINE TO CUT IN VALVE OR FITTING | EA | 10 |  | 0
175 | CONNECT NEW MAIN TO EXISTING WATERLINE STUBOUT | EA | 10 |  | 0
176 | RECONNECT EXISTING WATER SERVICE TO NEW MAIN LINE 0-10' | EA | 25 |  | 0
177 | REMOVE/DISPOSE/REPLACE METER CAN | EA | 20 |  | 0
178 | RECONNECT WATER SERVICE TO EXISTING SERVICE (ALL SIZES & MATL TYPES) | EA | 15 |  | 0
179 | FIRE HYDRANT (4', 5' OR 6') | EA | 10 |  | 0
180 | FIRE HYDRANT - 8" BARREL W/ 2 - 4" STEAMER | EA | 10 |  | 0
181 | REMOVE & REPLACE EXISTING FIRE HYDRANT | EA | 10 |  | 0
182 | AIR RELIEF VALVE ASSEMBLY INC. VAULT PER D-208 | EA | 1 |  | 0
183 | AIR RELIEF VALVE ASSEMBLY INC. VAULT PER D-209 | EA | 1 |  | 0
184 | BLOW OFF VALVE ASSEMBLY, INC.- VALVE , FITTINGS , MEG-A-LUGS, STEEL PIPE, SPLASH PAD, TRENCH AND BACKFILL AND TRACE WIRE PER D-206 | EA | 1 |  | 0
185 | 6" P. R. V. WITH 6" PIPE & APPURTENANCES W/ 8' MANHOLE ** | EA | 1 |  | 0
186 | 8" P. R. V. WITH 8" PIPE & APPURTENANCES W/ 8' MANHOLE ** | EA | 1 |  | 0
187 | 10" P. R. V. WITH 10" PIPE & APPURTENANCES W/ 8' MANHOLE** | EA | 1 |  | 0
188 | 12" P. R. V. WITH 12" PIPE & APPURTENANCES W/ 8' MANHOLE** | EA | 2 |  | 0
189 | 6' X 6' X 8' PRE-CAST BOX HS-20 LOADING ALT. TO 8' MANHOLE** | EA | 1 |  | 0
190 | ROCK EXCAVATION, PNEUMATIC EQUIPMENT | CY | 100 |  | 0
191 | ROCK EXCAVATION, HYDRAULIC EQUIPMENT | CY | 100 |  | 0
192 | LOAD, HAUL & DISPOSE UNSUITABLE MATERIAL 10 MILE FREE HAUL | CY | 3000 |  | 0
193 | PIPE BEDDING MATERIAL OR SELECT BACKFILL FOR PIPE TRENCH | TON | 2500 |  | 0
194 | TRENCH STABILIZATION 3/4 " to 1" AGGREGATE | TON | 1000 |  | 0
195 | TRENCH DEWATERING | HR | 40 |  | 0
196 | 2' STANDARD CURB & GUTTER; REM., DISP. & RPLCE | LF | 500 |  | 0
197 | CURB & GUTTER WITH REBAR | LF | 50 |  | 0
198 | 4" CONC. SIDEWALK OR SLOPE PAVEMENT REM., DISP. & RPLCE | SY | 2000 |  | 0
199 | 4" CONC. SIDWALK OR SLOPE PAVEMENT-COLRD & STMPD-REM., DISP. & RPLCE | SY | 50 |  | 0
200 | 6" DRIVEPAD OR VALLEY GUTTER REM., DISP. & RPLCE | SY | 50 |  | 0
201 | 4" CONCRETE HANDICAP RAMP | SY | 50 |  | 0
202 | DETECTABLE WARNING DEVICE | EA | 10 |  | 0
203 | SUBGRADE PREP | SY | 2000 |  | 0
204 | BASE COURSE - IN PLACE | TON | 2500 |  | 0
205 | ADJUST MANHOLE TO GRADE | EA | 40 |  | 0
206 | ADJUST VALVE BOX TO GRADE | EA | 40 |  | 0
207 | ASPHALT REMOVAL & DISPOSAL, 10 MILE FREE HAUL | SY | 2500 |  | 0
208 | PULVERIZE EXISTING PAVEMENT 0" TO 6" | SY | 1000 |  | 0
209 | PULVERIZE EXISTING PAVEMENT 6.1" TO 12" | SY | 500 |  | 0
210 | ASPHALT SURFACE COURSE RPLMT. 3" NOM. | SY | 2000 |  | 0
211 | ADDITIONAL ASPHALT SURFACE COURSE RPLMT. 1" INC. | SY | 500 |  | 0
212 | HOT MIX TYPE B, PG (58-28) IN PLACE | TON | 1500 |  | 0
213 | HOT MIX TYPE B, PAC 20 IN PLACE | TON | 100 |  | 0
214 | POLYMER COLD MIX IN PLACE | SY | 50 |  | 0
215 | REMOVE COLD MIX, REPLACE W/ HOT MIX | SY | 50 |  | 0
216 | ASPHALT UNDER 400 TONS WITH LAYDOWN | TON | 50 |  | 0
217 | ASPHALT UNDER 400 TONS WITHOUT LAYDOWN | TON | 50 |  | 0
218 | ASPHALT PLANT NIGHT OPENING 5 P.M. TO 8 A.M. | EA | 5 |  | 0
219 | TEST PITS ON NON-ARTERIAL OR COLLECTOR STREETS | CY | 50 |  | 0
220 | TEST PITS WITH TRAFFIC CONTROL - ARTERIAL STREETS | CY | 25 |  | 0
221 | TEST PITS WITH TRAFFIC CONTROL - COLLECTOR STREETS | CY | 25 |  | 0
222 | VACUUM EXTRACTION TEST PITS (0' TO 6') WITH TRAFFIC CONTROL - ARTERIAL STREETS | EA | 5 |  | 0
223 | VACUUM EXTRACTION TEST PITS (0' TO 6') WITH TRAFFIC CONTROL - COLLECTOR STREETS | EA | 5 |  | 0
224 | FURNISH & INSTALL FILTER CLOTH | SY | 250 |  | 0
225 | FLOWABLE FILL | CY | 20 |  | 0
226 | STRUCTURAL CONCRETE 3 C.Y. OR LESS PER WORK ORDER | CY | 15 |  | 0
227 | STRUCTURAL CONCRETE GREATER THAN 3 C.Y. PER WORK ORDER | CY | 15 |  | 0
228 | CONCRETE FOR FOOTERS AND FOUNDATION | CY | 5 |  | 0
229 | STEEL CASING, BORED & JACKED PER LINEAR FOOT | DIA-IN | 1000 |  | 0
230 | LOOSE RIPRAP IN PLACE INCLUDING EXCAVATION | TON | 5 |  | 0
231 | WIRE ENCLOSED RIPRAP INCLUDING EXCAVATION | CY | 10 |  | 0
232 | GABION BASKET (3' X 3' X 6') (GALV.) FILLED W/ 6" TO 9" (NOM. DIA.) ROCK | EA | 10 |  | 0
233 | INSTALL CITY FURNISHED CONDUIT, SINGLE IN TRENCH ALL TYPES & SIZES | LF | 100 |  | 0
234 | INSTALL CITY FURNISHED CONDUIT, 4 OR LESS, ALL TYPES & SIZES | LF | 150 |  | 0
235 | INSTALL CITY FURNISHED PULL BOXES ALL SIZES & TYPES | EA | 5 |  | 0
236 | PROJECT SIGN (4FT BY 4FT) | EA | 4 |  | 0
237 | TRAFFIC CONTROL COLLECTOR STREETS | DAY | 100 |  | 0
238 | TRAFFIC CONTROL ARTERIAL STREETS (MAJOR & MINOR) | DAY | 100 |  | 0
239 | FLAGMAN | HR | 40 |  | 0
240 | DOZER RENTAL D-8 OR EQUAL W/ OP. FUEL & OIL | HR | 40 |  | 0
241 | LOADER CAT 950 OR EQUAL W/ OP. FUEL & OIL | HR | 40 |  | 0
242 | TRACK HOE RENTAL JD690 OR EQUAL W/ OP. FUEL & OIL | HR | 40 |  | 0
243 | WELDER AND HELPER WITH EQUIPMENT | HR | 40 |  | 0
244 | NIGHT WORK ADD'L COMP. PER NIGHT 8PM TO 6AM | EA | 20 |  | 0
245 | MOB FOR JOBS COSTING < $400, > 1/2 MILE FROM JOB | EA | 5 |  | 0
246 | SILT FENCE | LF | 50 |  | 0
247 | STRAW BALES | EA | 25 |  | 0
248 | STRAW WATTLES (9" DIA.) | LF | 500 |  | 0
249 | TESTING ALLOWANCE | LS | 1 | 20000 | 20000
250 | NATIVE GRASS SEEDING | ACRE | 5 |  | 0
251 | PORTABLE TOILET | DAY | 200 |  | 0
TOTAL OF BASE BID ITEMS 1-251: |  |  |  |  | 20000
TOTAL OF ITEMS 1 THROUGH 251 INCLUSIVE IN WORDS:
THE SUM OF ____________________________________________________________________DOLLARS AND _____________________CENTS.
NOTE: UNLESS OTHERWISE INDICATED, ALL ITEMS INCLUDE ALL LABOR, EQUIPMENT AND MATERIALS NECESSARY TO PROPERLY FURNISH, INSTALL AND/OR COMPLETE THE WORK.
ASTERISK (*) ITEMS THUS INDICATED DO NOT INCLUDE TRENCHING AND BACKFILL . SEE TECHNICAL SPECIFICATIONS FOR FURTHER INFORMATION
DOUBLE ASTERISK (**) ITEMS REFER TO STD DET. D-204 OF THE 2007 TECHNICAL SPECIFICATIONS. PRESSURE REDUCING VALVE (PRV) SIZES REFER TO CLA-VALVE STANDARD SIZES. PIPE SIZES REFER TO STANDARD PIPE DIAMETERS FOR DUCTILE IRON PIPE. THE AIR RELIEF VALVE AND 4 " PRESSURE RELIEF VALVE SHALL NOT CHANGE REGARDLESS OF PRV AND PIPE SIZES. ITEM NO. 134, 6'X6'X8' CONCRETE BOX, SHALL BE PAID IN ADDITION TO, AND SHALL BE USED IN SUBSTITUTION OF, THE 8 FOOT DIAMETER MANHOLE SPECIFIED IN ITEMS 131,132, 133 IF SPECIFIED BY THE ENGINEER.