## Analyte Summary
Summary of Analyte Testing for Distribution System Water Quality Monitoring - City of Longview, WA
No | Analyte | Method | Test Location | Frequency | Notes/Comments
1 | Temperature |  | Field | Weekly
2 | pH | E150.1 | Field | Weekly
3 | Conductivity | A2510B | Field | Weekly
4 | Free Chlorine |  | Field | Weekly
5 | Total Chlorine |  | Field | Weekly
6 | ORP |  | Field | Weekly | Hach HQ40d portable multi-meter
7 | DO |  | Field | Weekly | Hach HQ40d portable multi-meter
8 | Turbidity | E180.1 | MFRWTP Lab | Weekly
9 | Total Iron | E200.7 | MFRWTP Lab | Weekly | Time sensitive, chill to prevent oxidation
10 | Soluble Iron | E200.7 | MFRWTP Lab | Weekly | Time sensitive, test filtrate after using 0.45 μm filter
11 | Total Manganese | E200.7 | MFRWTP Lab | Weekly
12 | Soluble Manganese | E200.7 | MFRWTP Lab | Weekly | Test filtrate after using 0.45 μm filter
13 | Total Arsenic | E200.8 | ALS Lab | Weekly
14 | Soluble Arsenic | E200.8 | ALS Lab | Weekly | Test filtrate after using 0.45 μm filter
15 | Hardness | A2340B | MFRWTP Lab | Weekly
16 | Alkalinity | A2320B | MFRWTP Lab | Weekly
17 | Apparent Color | A2120B | MFRWTP Lab | Weekly
18 | True Color | A2120B | MFRWTP Lab | Weekly | Test filtrate after using 0.45 μm filter
19 | Silica | A4500S1O2 | ALS Lab | Weekly
20 | HPC's | R2A agar | ALS Lab | Weekly | 7-day incubation @ room temp
21 | Iron Bacteria | BARTTM | ALS Lab | Weekly | Hach prepared kit
22 | Sulfur Bacteria | BARTTM | ALS Lab | Weekly | Hach prepared kit
To request water quality results, contact the City's Engineering department at (360)442-5200

## Location Summary
Summary of Sample Locations for Distribution System Water Quality Changes - City of Longview, WA
No | Location | Test Location | Zone ID | Zone | Frequency | Site Condition | Pipe Material
1 | 136 Tanglewood Drive | Coliform Sampling Stn. | 653 | Trella | Weekly for 2 weeks | Control Area | Ductile Iron
2 | 1824 Coal Creek Rd. | Coliform Sampling Stn. | 502 | Upper Coal Creek | Weekly for 2 weeks | Control Area | Lined Cast lron
3 | 1051 Coal Creek Rd. | Coliform Sampling Stn. | 415 | Niemi | Weekly for 2 weeks | Control Area | Lined Cast lron
4 | 150 Clark Creek Ln. | Coliform Sampling Stn. | 395 | Clark Creek | Weekly for 2 weeks | Control Area | Lined Cast lron
5 | 2770 48th Avenue | Coliform Sampling Stn. | 244 | Main | Weekly | Control Area | Lined Cast lron
6 | 16 Clearview Drive | Coliform Sampling Stn. | 488 | Lower Columbia View | Weekly for 2 weeks | Control Area | Ductile Iron
7 | 188 Curtis Drive | Coliform Sampling Stn. | 660 | - | Weekly for 2 weeks | Control Area | Ductile Iron
8 | 3747 Sunset Way | Coliform Sampling Stn. | 318 | Lower Ammons | Weekly for 2 weeks | Control Area | Lined Cast lron
9 | 3170 N. Ammons Dr. | Coliform Sampling Stn. | 506 | Columbia View | Weekly for 2 weeks | Control Area | Lined Cast lron
10 | 3544 Fairway Lane | Coliform Sampling Stn. | 463 | Ammons | Weekly for 2 weeks | Control Area | Lined Cast lron
11 | 2302 Cedar Place | Coliform Sampling Stn. | 286 | Lower Hillcrest | Weekly for 2 weeks | Control Area | Lined Cast lron
12 | 2430 Park Hill Dr. | Coliform Sampling Stn. | 481 | Hillcrest | Weekly for 2 weeks | Control Area | Lined Cast lron
13 | 1155 Weber Ave (MFRWTP) | Finished Water SA-22 (Lab) | 244 | Main | Weekly | Point of Entry | Ductile Iron
14 | 2853 Florida St. | Hydrant | 244 | Main | Weekly | Known Problem Area | Unlined Cast Iron
15 | 2105 Larch St. | Hydrant | 244 | Main | Weekly | Known Problem Area | Unlined Cast Iron
16 | 345 19th Ave. | Hydrant | 244 | Main | Weekly | Known Problem Area | Unlined Cast Iron
17 | 640 17th Ave. | Hydrant | 244 | Main | Weekly | Known Problem Area | Unlined Cast Iron
18 | 1110 Commerce | Hydrant | 244 | Main | Weekly | Emerging Problem Area | Unlined Cast Iron
19 | 101 Fishers Ln (BHWSD Intertie) | Hydrant | 244 | Main | Weekly | Point of Entry (BHWSD) | Steel
20 | Hillside PS (BHWSD Intertie) | Pump Suction | 244 | Main | Weekly | Point of Entry (BHWSD) | Lined Cast lron
21 | Maplewood Dr. x Cedar Ln. | Hydrant | 481 | Hillcrest | Weekly for 2 weeks | Point of Entry (BHWSD) | Lined Cast lron
22 | 7337 Willow Grove | Hydrant | 244 | Main | Weekly | Control Area | Ductile Iron
23 | 5403 Oriole Dr. | Coliform Sampling Stn. | 244 | Main | Weekly | Control Area | Ductile Iron
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20