## 06_04_13
Sample | [8 empty] | 24 Mg [ 1 ] |  |  | 39 K [ 1 ] |  |  | 44 Ca [ 1 ] |  |  | 55 Mn [ 1 ] |  |  | 56 Fe [ 1 ] |  |  | 57 Fe [ 1 ] |  |  | 63 Cu [ 1 ] |  |  | 64 Zn [ 1 ] |  |  | 66 Zn [ 1 ] |  |  | 78 Se [ 2 ] |  |  | 118 Sn [ 1 ] |  |  | 45 Sc ( ISTD ) [ 1 ] |  | 72 Ge ( ISTD ) [ 1 ] |  | 72 Ge ( ISTD ) [ 2 ] |  | 209 Bi ( ISTD ) [ 1 ]
| Rjct | Data File | Sample Name | Acq. Date-Time | Type | Level | Dilution | Vial Number | Conc. [ ppb ] | CPS | CPS RSD | Conc. [ ppb ] | CPS | CPS RSD | Conc. [ ppb ] | CPS | CPS RSD | Conc. [ ppb ] | CPS | CPS RSD | Conc. [ ppb ] | CPS | CPS RSD | Conc. [ ppb ] | CPS | CPS RSD | Conc. [ ppb ] | CPS | CPS RSD | Conc. [ ppb ] | CPS | CPS RSD | Conc. [ ppb ] | CPS | CPS RSD | Conc. [ ppb ] | CPS | CPS RSD | Conc. [ ppb ] | CPS | CPS RSD | CPS | CPS RSD | CPS | CPS RSD | CPS | CPS RSD | CPS | CPS RSD
| FALSE | 001BLKV.D | 0 | 2013-06-04 12:19 | BlkVrfy |  | 1 | 2101 |  | 1655.8 | 8.3727 |  | 60877.86 | 0.66775 |  | 160.01 | 26.0217 |  | 170.01 | 24.4897 |  | 10008.99 | 0.89049 |  | 228.9033 | 23.2251 |  | 621.1533 | 4.0278 |  | 737.8267 | 15.1361 |  | 441.1367 | 12.0982 |  | 660.06 | 0.37259 |  | 962.2933 | 7.6087 | 202644.2367 | 4.4958 | 117594.3033 | 2.7224 | 327153.8033 | 1.51 | 2454198.94 | 3.1293
| FALSE | 002BLKV.D | 0 | 2013-06-04 12:23 | BlkVrfy |  | 1 | 2102 |  | 1529.0833 | 7.4304 |  | 64210.41 | 0.97131 |  | 111.1167 | 4.5817 |  | 150.0067 | 28.8895 |  | 10162.4633 | 1.7034 |  | 211.1233 | 2.4119 |  | 586.7067 | 7.4304 |  | 817.8367 | 15.8517 |  | 485.5833 | 9.5212 |  | 656.77 | 0.65307 |  | 855.6233 | 5.319 | 204375.2467 | 0.453 | 120017.9267 | 0.57814 | 333333.2833 | 3.1718 | 2465799.8233 | 0.75739
| FALSE | 003BLKV.D | 0 | 2013-06-04 12:28 | BlkVrfy |  | 1 | 2101 |  | 1437.9667 | 5.0866 |  | 64135.49 | 2.0263 |  | 135.5633 | 9.3109 |  | 135.5633 | 53.1049 |  | 10541.8833 | 2.9822 |  | 241.1233 | 18.2554 |  | 578.9233 | 9.2553 |  | 684.49 | 17.5681 |  | 416.6867 | 7.6308 |  | 658.6133 | 1.4318 |  | 854.5067 | 10.6152 | 205920.8733 | 0.93597 | 121870.1033 | 1.7495 | 327986.67 | 0.026971 | 2488906.11 | 0.40981
| FALSE | 004BLKV.D | 0 | 2013-06-04 12:32 | BlkVrfy |  | 1 | 2102 |  | 1602.4667 | 19.1653 |  | 65047.0633 | 1.3212 |  | 128.8967 | 13.2692 |  | 156.6733 | 20.5175 |  | 10094.62 | 0.71182 |  | 233.3467 | 4.9484 |  | 647.82 | 1.8068 |  | 854.5033 | 3.2485 |  | 496.7 | 7.7397 |  | 666.2167 | 0.99445 |  | 665.6033 | 4.0793 | 206348.3467 | 1.2974 | 120939.8933 | 1.2477 | 323971.3367 | 0.55237 | 2501313.5233 | 0.91173
Sc[1]: CPS RSD value = 16.14 is over the allowed maximum = 5.00 Ge[1]: CPS RSD value = 11.12 is over the allowed maximum = 5.00 Bi[1]: CPS RSD value = 15.10 is over the allowed maximum = 5.00 | FALSE | 005CALB.D | 0 | 2013-06-04 12:36 | CalBlk | 1 | 1 | 2101 | <1.883 | 1544.6533 | 5.5675 | <69.367 | 64333.24 | 0.99127 | <2.750 | 133.3433 | 22.2194 | <0.028 | 146.6733 | 22.3822 | <0.884 | 10361.54 | 1.2157 | <1.578 | 292.24 | 15.8184 | <0.017 | 667.8233 | 9.4232 | <0.170 | 768.9433 | 13.7117 | <0.259 | 457.8067 | 29.13 | <0.215 | 655.41 | 2.0579 | <0.096 | 717.83 | 2.1451 | 198779.0067 | 16.1375 | 118893.68 | 11.1203 | 329266.1767 | 1.6939 | 2402489.72 | 15.0964
| FALSE | 006CALS.D | 0.5 | 2013-06-04 12:41 | CalStd | 2 | 1 | 2103 | <1.883 | 2918.3233 | 7.5249 | <69.367 | 64917.83 | 0.99564 | <2.750 | 297.7967 | 7.1094 | 0.48255 | 7144.07 | 3.1404 | <0.884 | 27662.8033 | 0.67056 | <1.578 | 725.6033 | 9.6631 | 0.48797 | 14624.8133 | 0.29024 | 0.47639 | 4795.3567 | 4.9056 | 0.48589 | 2894.82 | 2.9952 | 0.48654 | 1381.68 | 0.22694 | 0.44848 | 7144.12 | 1.3602 | 197468.4167 | 2.9529 | 120120.6367 | 0.5572 | 326851.7367 | 0.060666 | 2422404.65 | 3.7552
Ge[2]: CPS RSD value = 6.09 is over the allowed maximum = 5.00 | FALSE | 007CALS.D | 1 | 2013-06-04 12:45 | CalStd | 3 | 1 | 2104 | <1.883 | 3885.23 | 2.7374 | <69.367 | 66249.9233 | 1.1416 | <2.750 | 322.2433 | 7.266 | 0.98947 | 14491.31 | 1.7238 | 0.94341 | 31238.14 | 0.29066 | <1.578 | 732.2767 | 6.9691 | 0.96238 | 28185.9467 | 1.1861 | 0.9489 | 8776.0467 | 2.3114 | 0.95708 | 5258.8467 | 2.049 | 0.96109 | 2108.2667 | 0.43269 | 0.90224 | 13630.85 | 2.7087 | 206405.6267 | 0.53226 | 120115.37 | 0.42811 | 329813.2967 | 6.0867 | 2495904.0067 | 0.67362
| FALSE | 008CALS.D | 2 | 2013-06-04 12:50 | CalStd | 4 | 1 | 2105 | 2.0273 | 5988.2267 | 0.57902 | <69.367 | 66693.9767 | 0.78948 | 5.1512 | 578.9267 | 13.6798 | 1.9573 | 28341.6767 | 1.2811 | 2.0184 | 54475.9733 | 4.9775 | 1.9802 | 1336.7833 | 6.0926 | 2.0471 | 58826.1567 | 0.31177 | 1.954 | 17141.7067 | 0.81493 | 2.0157 | 10506.03 | 0.69683 | 1.9686 | 3615.6633 | 0.43132 | 1.8382 | 26844.69 | 0.5605 | 197967.9 | 2.3923 | 119387.9067 | 1.2001 | 327554.9333 | 0.80889 | 2443253.4867 | 3.0399
| FALSE | 009CALS.D | 5 | 2013-06-04 12:54 | CalStd | 5 | 1 | 2106 | 4.9938 | 12639.2467 | 2.2642 | <69.367 | 73095.67 | 0.62417 | 8.8777 | 916.7333 | 8.8259 | 4.9087 | 71950.1167 | 1.5094 | 4.9055 | 119138.97 | 0.70843 | 5.0218 | 2978.1767 | 2.7289 | 5.0317 | 145817.0533 | 1.2681 | 5.8746 | 50745.5067 | 1.4284 | 5.9816 | 30746.24 | 1.4201 | 4.9088 | 8133.08 | 0.32695 | 4.6673 | 68072.4167 | 2.0423 | 204738.4133 | 0.95731 | 121203.06 | 0.84568 | 331281.59 | 0.79435 | 2493184.1133 | 0.53965
| FALSE | 010CALS.D | 10 | 2013-06-04 12:58 | CalStd | 6 | 1 | 2107 | 9.9252 | 23179.8 | 0.88218 | <69.367 | 83260.0633 | 0.61909 | 11.09 | 1093.4233 | 8.6453 | 9.9311 | 143133.8333 | 0.27523 | 9.9472 | 227036.1333 | 0.62757 | 10.0453 | 5568.94 | 1.9679 | 10.1818 | 289722.6233 | 1.1425 | 9.978 | 84291.9033 | 0.973 | 9.8424 | 49506.0667 | 0.71956 | 9.8966 | 15701.3667 | 0.50084 | 9.3511 | 133512.8267 | 0.37448 | 201502.7433 | 2.3541 | 119319.29 | 1.3115 | 330904.32 | 2.9461 | 2464348.5567 | 2.3207
| FALSE | 011CALS.D | 50 | 2013-06-04 13:03 | CalStd | 7 | 1 | 2108 | 49.4939 | 109850.3133 | 1.3227 | <69.367 | 146599.5167 | 1.437 | 51.5509 | 4623.0633 | 2.0731 | 49.2874 | 713131.2133 | 0.28599 | 49.4451 | 1091964.0567 | 0.30625 | 50.3561 | 26857.1233 | 1.2327 | 52.3913 | 1495156.14 | 0.61279 | 48.3197 | 407161.26 | 0.24352 | 48.8205 | 244918.59 | 0.15141 | 49.737 | 76322.7433 | 0.77015 | 46.8841 | 669650.3467 | 0.28959 | 204029.45 | 0.65815 | 119870.08 | 0.55652 | 331009.64 | 0.79183 | 2503926.0733 | 0.66052
Sc[1]: CPS RSD value = 31.06 is over the allowed maximum = 5.00 Ge[1]: CPS RSD value = 20.74 is over the allowed maximum = 5.00 Bi[1]: CPS RSD value = 16.65 is over the allowed maximum = 5.00 | FALSE | 012CALS.D | 100 | 2013-06-04 13:07 | CalStd | 8 | 1 | 2109 | 86.2137 | 215972.5333 | 0.7366 | 80.7281 | 228769.16 | 1.0026 | 91.3138 | 9073.99 | 2.2856 | 90.3777 | 1483978.0667 | 1.2695 | 89.6162 | 2241254.5667 | 1.9489 | 88.4097 | 53340.82 | 1.3052 | 92.5474 | 2993199.9567 | 1.6495 | 85.6043 | 817666.42 | 1.3345 | 85.5754 | 486738.2067 | 1.0873 | 100.0932 | 151987.9167 | 0.23217 | 88.4147 | 1439433.3633 | 2.231 | 220490.3167 | 31.0642 | 138505.77 | 20.7357 | 329296.6933 | 3.7537 | 2223253.35 | 16.6466
| FALSE | 013CALS.D | 1000 | 2013-06-04 13:11 | CalStd | 9 | 1 | 2110 | 1029.958 | 2124942.6767 | 0.75422 | 1030.2633 | 1716384.14 | 0.23652 | 1024.9079 | 84262.4867 | 0.87795 | 1019.5084 | 13900451.46 | 0.45331 | 1019.2743 | 21021218.0233 | 0.61236 | 1017.3383 | 505997.92 | 0.10454 | 1034.9241 | 27825219.5867 | 0.026034 | 1024.5147 | 8121906.4067 | 0.33513 | 1025.1199 | 4838615 | 0.29256 | 1000.0054 | 1507931.7867 | 2.8249 | 1020.7637 | 13726972.7133 | 0.16655 | 204871.78 | 0.18995 | 112993.1333 | 1.4956 | 327917.25 | 1.5117 | 2427112.69 | 0.47332
| FALSE | 014CALS.D | 2000 | 2013-06-04 13:16 | CalStd | 10 | 1 | 2111 | 1985.034 | 4125051.19 | 0.283 | 1984.9283 | 3274077.7967 | 0.65896 | 1987.4881 | 164501.8167 | 0.96499 | 1990.2642 | 27337960.7033 | 1.2087 | 1990.3772 | 41344681.05 | 1.2692 | 1991.3217 | 997570.57 | 0.53811 | 1982.4772 | 53699859.1967 | 0.53601 | 1987.7827 | 15875238.93 | 0.94243 | 1987.4679 | 9450449.0967 | 0.5812 | 0.42333 | 1292.8767 | 2.7085 | 1989.7003 | 26956460.9867 | 0.8352 | 211804.98 | 1.2093 | 113826.66 | 0.59557 | 328388.3233 | 1.2833 | 2428842.5833 | 0.32589
Sc[1]: CPS RSD value = 35.03 is over the allowed maximum = 5.00 Ge[1]: CPS RSD value = 26.87 is over the allowed maximum = 5.00 Bi[1]: CPS RSD value = 10.76 is over the allowed maximum = 5.00 Bi[1]: ISTD Recovery Percent value = 77.73 is outside the allowed range [80.00, 120.00] | FALSE | 015CALS.D | 5000 | 2013-06-04 13:22 | CalStd | 11 | 1 | 2112 | 3555.0552 | 7889710.6467 | 3.0105 | 3523.532 | 6126565.8133 | 1.9394 | 3564.9883 | 313473.52 | 2.2836 | 3608.5399 | 52527710.8833 | 2.3431 | 3591.3109 | 79532851.5933 | 3.0207 | 3802.0496 | 2017981.6733 | 2.7187 | 3517.8218 | 101117905.16 | 2.8574 | 3538.0307 | 30026660.1067 | 2.9632 | 3539.6529 | 17877256.54 | 2.6443 | 0.76004 | 1774.9833 | 0.30491 | 3641.4297 | 52372011.44 | 2.2255 | 206987.9467 | 35.0301 | 124709.03 | 26.8692 | 323882.8067 | 3.1121 | 1867453.205 | 10.7577
| FALSE | 016BLKV.D | 0 | 2013-06-04 13:27 | BlkVrfy |  | 1 | 2101 | <1.883 | 1895.84 | 4.1953 | <69.367 | 55934.3833 | 1.8739 | <2.750 | 120.0067 | 24.6887 | 0.27401 | 3660.5733 | 2.1344 | <0.884 | 24666.8667 | 2.5666 | <1.578 | 571.1467 | 14.6539 | 0.36006 | 9745.52 | 4.4041 | 0.36314 | 3410.5033 | 5.1501 | 0.38377 | 2114.67 | 5.3565 | <0.215 | 576.2333 | 1.673 | 1.1373 | 15094.4167 | 0.83112 | 176362.2 | 0.5242 | 106712.06 | 1.7138 | 296625.3567 | 0.067056 | 2396501.6633 | 0.65289
| FALSE | 017BLKV.D | 0 | 2013-06-04 13:31 | BlkVrfy |  | 1 | 2102 | <1.883 | 1502.4367 | 5.5494 | <69.367 | 55492.5 | 0.64748 | <2.750 | 81.1167 | 8.5526 | 0.054281 | 821.17 | 3.7723 | <0.884 | 14010.9067 | 3.342 | <1.578 | 340.02 | 17.8894 | 0.067584 | 2290.26 | 3.0679 | <0.170 | 1040.0767 | 11.5919 | <0.259 | 694.49 | 8.1646 | <0.215 | 582.9433 | 0.96352 | 0.40845 | 5770.2067 | 2.9709 | 171595.26 | 3.3061 | 105471.7033 | 0.78645 | 297393.63 | 0.43 | 2343391.4067 | 2.8129
| FALSE | 018_QC1.D | Check-10 | 2013-06-04 13:36 | QC1 |  | 1 | 2201 | 10.0235 | 20683.0167 | 3.3451 | <69.367 | 70679.7867 | 1.1847 | 11.9157 | 1030.08 | 12.4378 | 9.9693 | 127034.8633 | 0.65655 | 10.0497 | 202688.6167 | 0.17195 | 10.1911 | 4990.98 | 2.5459 | 10.2974 | 259068.2967 | 0.89387 | 9.9137 | 74051.5433 | 0.73972 | 9.9052 | 44045.2167 | 2.6494 | 9.8986 | 14256.3967 | 0.42321 | 9.7947 | 123608.2 | 1.1372 | 172231.5267 | 2.6415 | 105480.82 | 0.53515 | 300251.3133 | 1.1298 | 2331479.41 | 2.9496
| FALSE | 019BLKV.D | 0 | 2013-06-04 13:40 | BlkVrfy |  | 1 | 2102 | <1.883 | 1406.86 | 1.4227 | <69.367 | 55334.54 | 1.3266 | <2.750 | 86.6733 | 30.0403 | 0.038538 | 631.1533 | 12.8759 | <0.884 | 11326 | 1.8956 | <1.578 | 271.1267 | 4.968 | 0.035025 | 1497.9133 | 14.1048 | <0.170 | 784.5 | 14.2357 | <0.259 | 453.3633 | 15.907 | <0.215 | 584.2567 | 0.55371 | 0.26529 | 4039.57 | 4.0707 | 176530.08 | 0.61868 | 107226.1267 | 0.42434 | 297612.9167 | 0.71675 | 2391275.2767 | 0.33366
| FALSE | 020BLKV.D | 0 | 2013-06-04 13:44 | BlkVrfy |  | 1 | 2102 | <1.883 | 1435.75 | 3.7829 | <69.367 | 55829.66 | 0.73868 | <2.750 | 107.78 | 15.5692 | 0.030625 | 523.3633 | 4.1771 | <0.884 | 10487.0533 | 2.4765 | <1.578 | 255.5733 | 11.8353 | 0.02939 | 1340.11 | 2.633 | <0.170 | 744.4933 | 5.4163 | <0.259 | 460.03 | 11.9734 | <0.215 | 571.0967 | 1.5216 | 0.17114 | 2809.2633 | 1.4839 | 176668.3267 | 0.35321 | 106160.5 | 0.26597 | 302127.0767 | 1.1035 | 2378081.0933 | 0.16977
K[1]: Calibration Stability(QC1) value = 76.60% is outside the allowed range [80.00%, 120.00%] Ca[1]: Calibration Stability(QC1) value = 127.69% is outside the allowed range [80.00%, 120.00%] | FALSE | 021_QC1.D | Check-10 | 2013-06-04 13:49 | QC1 |  | 1 | 2201 | 9.8702 | 20707.5833 | 1.7847 | <69.367 | 70147.4467 | 1.3778 | 12.7692 | 1113.4233 | 7.0031 | 9.7243 | 125841.0333 | 0.34647 | 9.8385 | 201708.3633 | 0.69803 | 10.2776 | 5109.9133 | 2.9484 | 10.0828 | 257642.8667 | 0.65594 | 9.8524 | 74746.4233 | 0.51959 | 9.8858 | 44645.7033 | 0.43783 | 9.9112 | 14386.73 | 0.20227 | 9.5766 | 122758.98 | 1.1726 | 178495.5967 | 1.106 | 107125.7167 | 0.81404 | 302611.1567 | 0.13711 | 2403429.8767 | 1.0347
| FALSE | 022BLKV.D | 0 | 2013-06-04 13:53 | BlkVrfy |  | 1 | 2102 | <1.883 | 1511.3133 | 8.6609 | <69.367 | 55167.08 | 0.74576 | <2.750 | 76.67 | 15.6726 | 0.037349 | 611.15 | 13.9099 | <0.884 | 10422.5933 | 3.6169 | <1.578 | 235.5667 | 12.2007 | 0.030726 | 1377.8967 | 5.9283 | <0.170 | 763.3833 | 1.1549 | <0.259 | 486.7 | 13.0131 | <0.215 | 586.79 | 1.6583 | 0.1974 | 3150.4433 | 3.0614 | 178288.8567 | 0.53862 | 106472.4467 | 0.30332 | 304631.2467 | 0.11869 | 2389642.6033 | 0.76609
| FALSE | 023SMPL.D | Acid Ctl | 2013-06-04 13:57 | Sample |  | 1 | 3301 | <1.883 | 2080.33 | 6.7158 | <69.367 | 57029.19 | 2.3419 | 3.8487 | 417.8033 | 4.3957 | 0.029546 | 513.3667 | 17.6524 | <0.884 | 14304.5267 | 3.0302 | <1.578 | 378.92 | 5.8574 | 0.031636 | 1405.6833 | 10.3275 | 0.98919 | 8115.6633 | 0.57528 | 1.0642 | 5162.1233 | 3.6974 | <0.215 | 590.6767 | 2.166 | 0.16607 | 2764.8233 | 3.104 | 177655.2033 | 0.29811 | 106953.38 | 1.5267 | 305819.1 | 1.9774 | 2410418.92 | 0.23841
K[1]: Concentration value = 8188.92 is over the calibration range | FALSE | 024SMPL.D | Bovine Ctl | 2013-06-04 14:02 | Sample |  | 1.1905 | 3302 | 558.5478 | 920451.1233 | 0.26926 | 9748.7119 | 12553841.48 | 0.67457 | 131.9389 | 8762.6667 | 2.5156 | 9.5833 | 104403.21 | 0.77644 | 189.3964 | 3125050.9933 | 0.66434 | 188.437 | 75018.5067 | 0.25152 | 275.2693 | 5906634.4967 | 0.54738 | 154.3912 | 977344.3867 | 1.0451 | 166.6602 | 628099.9533 | 0.13958 | 1.6954 | 2644.6333 | 0.53718 | 0.91873 | 10512.7933 | 2.6047 | 182049.1333 | 0.81298 | 107332.0733 | 0.22185 | 309811.8633 | 0.50736 | 2435427.57 | 1.9625
| FALSE | 025BLKV.D | 0 | 2013-06-04 14:06 | BlkVrfy |  | 1 | 2102 | <1.883 | 1464.65 | 14.3708 | <69.367 | 58639.1 | 1.4788 | <2.750 | 78.8933 | 34.4179 | 0.038598 | 630.04 | 3.8155 | <0.884 | 10148.11 | 3.4653 | <1.578 | 260.0167 | 10.0136 | 0.064065 | 2232.4733 | 3.0655 | <0.170 | 792.28 | 7.4357 | <0.259 | 437.8033 | 6.4763 | <0.215 | 607.32 | 1.2543 | 0.10425 | 1979.1067 | 4.6568 | 176173 | 0.64821 | 106951.0467 | 0.86349 | 305373.4633 | 0.50865 | 2387421.72 | 0.44099
Sc[1]: CPS RSD value = 11.14 is over the allowed maximum = 5.00 Sc[1]: ISTD Recovery Percent value = 77.21 is outside the allowed range [80.00, 120.00] Ge[1]: CPS RSD value = 13.39 is over the allowed maximum = 5.00 Bi[1]: CPS RSD value = 10.73 is over the allowed maximum = 5.00 | FALSE | 026SMPL.D | Cem2 Ctl | 2013-06-04 14:11 | Sample |  | 866 | 3303 | 97767.6461 | 195763.59 | 1.1902 | 154945.6274 | 291953.9467 | 0.17709 | 108791.3174 | 8717.13 | 2.5641 | 98682.2747 | 1298431.8833 | 1.049 | 100330.223 | 2002897.1933 | 1.6709 | 99091.8262 | 47750.6933 | 1.88 | 100507.1627 | 2609745.9 | 0.70153 | 93042.1663 | 712835.57 | 0.25516 | 92664.8469 | 422641.77 | 0.49133 | 6.8882 | 633.6367 | 1.0962 | 85526.9364 | 1109956 | 1.5014 | 153481.2367 | 11.1426 | 95721.3733 | 13.3926 | 312628.9367 | 2.1732 | 2103638.7367 | 10.7306
| FALSE | 027BLKV.D | 0 | 2013-06-04 14:15 | BlkVrfy |  | 1 | 2102 | <1.883 | 1533.5467 | 8.5646 | <69.367 | 56741.19 | 1.4159 | <2.750 | 78.8967 | 45.5717 | 0.031962 | 554.4767 | 13.191 | <0.884 | 10986.3367 | 2.5418 | <1.578 | 256.68 | 9.0916 | 0.035834 | 1541.2533 | 7.7425 | <0.170 | 810.0567 | 3.9257 | <0.259 | 441.14 | 11.3431 | <0.215 | 608.9433 | 1.3211 | 0.64242 | 8989.6233 | 1.178 | 181455.36 | 0.41898 | 108889.3233 | 0.31498 | 311188.0633 | 1.3108 | 2437919.3567 | 0.5855
Ca[1]: Concentration value = 21620.02 is over the calibration range | FALSE | 028SMPL.D | 1964-1 | 2013-06-04 14:20 | Sample |  | 5.8714 | 3304 | 2355.3225 | 788551.4467 | 0.64434 | 1169.5701 | 363178.47 | 0.45149 | 126940.396 | 1689205.2 | 0.35705 | 9.1493 | 20352.0133 | 2.0471 | 97.7835 | 336174.6133 | 0.58168 | 132.8257 | 10968.54 | 0.78323 | 9.1427 | 40448.0033 | 0.8135 | 105.2301 | 135902.2967 | 0.33517 | 112.4965 | 86463.54 | 1.1993 | 1.2703 | 927.85 | 0.73316 | 2.9427 | 7069.6733 | 4.6318 | 182285.92 | 0.075232 | 107518.9033 | 0.4015 | 310811.87 | 0.82903 | 2380428.68 | 0.76002
Ca[1]: Concentration value = 44413.91 is over the calibration range | FALSE | 029SMPL.D | 1964-2 | 2013-06-04 14:24 | Sample |  | 2.4909 | 3305 | 2152.9932 | 1761205.8933 | 0.65721 | 798.9121 | 569589.8267 | 0.9971 | 110631.0072 | 3600464.9467 | 0.59338 | 8.8299 | 47863.11 | 0.594 | 60.6579 | 505492.2833 | 0.27846 | 89.4104 | 17894.7933 | 1.5664 | 6.0864 | 65499.0767 | 1.3135 | 112.9942 | 355791.7933 | 0.85881 | 120.9957 | 226798.6533 | 0.86715 | 1.2056 | 1346.8767 | 1.0635 | 1.981 | 11240.08 | 0.79743 | 190354.8133 | 0.61353 | 111561.57 | 0.6657 | 319502.3567 | 0.42984 | 2364331.5967 | 0.53917
Ca[1]: Concentration value = 33389.67 is over the calibration range | FALSE | 030SMPL.D | 1964-3 | 2013-06-04 14:29 | Sample |  | 3.0148 | 3306 | 1951.1451 | 1320721.96 | 1.0607 | 821.3554 | 493601.5833 | 0.87463 | 100663.6859 | 2710092.98 | 0.028203 | 9.6643 | 43347.4067 | 1.0033 | 89.4909 | 614776.4267 | 0.55767 | 118.4082 | 19580.02 | 2.1523 | 7.2953 | 64949.06 | 1.159 | 93.5074 | 243794.97 | 0.34195 | 99.6433 | 154639.63 | 1.0179 | 1.3448 | 1310.4967 | 0.59759 | 0.69514 | 3746.17 | 3.3918 | 187924.8967 | 2.4107 | 111696.69 | 0.28885 | 324314.73 | 1.0459 | 2376707.8667 | 1.532
Ca[1]: Concentration value = 25705.16 is over the calibration range | FALSE | 031SMPL.D | 1964-5 | 2013-06-04 14:33 | Sample |  | 3.1692 | 3307 | 1506.9878 | 970393.7367 | 0.75558 | 781.1318 | 452186.87 | 0.49918 | 81465.5927 | 2085610.47 | 1.4563 | 6.4337 | 27491.4167 | 1.6497 | 27.8952 | 189131.45 | 0.91545 | 49.1407 | 7894.4433 | 2.2865 | 1.9902 | 17314.13 | 0.91812 | 68.5519 | 170172.78 | 0.1874 | 72.6015 | 107270.6833 | 0.50444 | 1.0668 | 1145.22 | 1.4419 | 0.46721 | 2639.2333 | 4.1543 | 190854.1233 | 1.4428 | 111651.7 | 0.44519 | 323662.6167 | 0.90446 | 2394261.8567 | 0.70045
Ca[1]: Concentration value = 58942.77 is over the calibration range | FALSE | 032SMPL.D | 1972-1 | 2013-06-04 14:37 | Sample |  | 1.8267 | 3308 | 1967.0419 | 2189088.37 | 1.2721 | 1061.3602 | 980345.8133 | 0.38337 | 107668.7897 | 4768122.64 | 0.54392 | 13.6623 | 100616.6767 | 0.53999 | 21.3617 | 247345.88 | 0.65545 | 49.2375 | 13479.3867 | 0.68071 | 1.5637 | 23303.8767 | 0.92555 | 89.0342 | 381415.7267 | 0.63743 | 95.0616 | 242456.6133 | 0.49922 | 0.98133 | 1455.0867 | 1.8466 | 0.84755 | 6821.7767 | 5.0652 | 186028.27 | 2.5059 | 111376.14 | 2.4906 | 326238.68 | 0.26986 | 2300395.4167 | 3.1288
Ca[1]: Concentration value = 33322.94 is over the calibration range | FALSE | 033SMPL.D | 1972-2 | 2013-06-04 14:42 | Sample |  | 2.7 | 3309 | 1632.5883 | 1267763.8533 | 0.27598 | 1255.0948 | 820954.7367 | 0.36099 | 89971.9375 | 2778513.9533 | 0.50528 | 5.9094 | 30450.9067 | 1.1019 | 20.2787 | 167338.23 | 0.64917 | 43.3048 | 8382.49 | 0.77464 | 0.97424 | 10499.34 | 0.46228 | 64.5147 | 193117.7733 | 0.28197 | 69.2212 | 123324.1567 | 1.3825 | 1.0312 | 1241.2033 | 1.0528 | 0.24945 | 1961.3233 | 6.9781 | 192728.2367 | 0.9037 | 114750.2133 | 0.59887 | 331296.01 | 0.46222 | 2445654.08 | 1.783
Ca[1]: Concentration value = 30792.93 is over the calibration range | FALSE | 034SMPL.D | 1972-3 | 2013-06-04 14:46 | Sample |  | 3.3667 | 3310 | 1872.1017 | 1157986.9133 | 1.0013 | 1340.4827 | 707307.8533 | 0.90203 | 103669.5473 | 2550146.4367 | 1.0219 | 9.9328 | 40715.21 | 0.94726 | 50.1035 | 319480.3933 | 0.95528 | 76.4482 | 11670.1333 | 2.1843 | 3.6288 | 29872.2267 | 1.731 | 79.7778 | 190215.8667 | 1.2289 | 84.5863 | 120048.4167 | 0.73524 | 1.2616 | 1245.8033 | 0.38789 | 1.3816 | 6260.4 | 2.8832 | 191276.83 | 0.67322 | 113967.0967 | 0.72453 | 335494.77 | 0.35862 | 2411860.1067 | 1.1162
Ca[1]: Concentration value = 21834.57 is over the calibration range | FALSE | 035SMPL.D | 1972-4 | 2013-06-04 14:51 | Sample |  | 3.9238 | 3311 | 1542.3042 | 816890.4467 | 0.75243 | 987.919 | 468915.3933 | 0.34391 | 85674.711 | 1803525.2667 | 0.52796 | 29.684 | 103914.5533 | 0.47457 | 27.4437 | 155050.1767 | 0.55278 | 49.0521 | 6533.7833 | 3.0481 | 3.1263 | 22192.3267 | 0.65483 | 82.1102 | 167628.9833 | 0.94303 | 87.7666 | 106640.9633 | 0.35783 | 0.83007 | 1001.34 | 1.1794 | 1.01 | 4175.19 | 2.915 | 193508.5133 | 1.3854 | 113667.7733 | 0.54215 | 337951.8933 | 1.023 | 2405858.61 | 0.97476
Ca[1]: Concentration value = 30353.87 is over the calibration range Sc[1]: CPS RSD value = 5.76 is over the allowed maximum = 5.00 Bi[1]: CPS RSD value = 5.23 is over the allowed maximum = 5.00 | FALSE | 036SMPL.D | 1972-5 | 2013-06-04 14:55 | Sample |  | 3.7273 | 3312 | 2405.4643 | 1356833.6967 | 0.55965 | 629.3147 | 339043.3 | 0.61788 | 113137.1424 | 2537955.17 | 1.6588 | 11.7268 | 43832.98 | 1.5514 | 26.2898 | 158229.9167 | 1.1633 | 53.7328 | 7583.16 | 1.118 | 1.5285 | 11873.62 | 2.1948 | 135.5637 | 294428.8567 | 1.0519 | 145.3111 | 187841.4733 | 0.5169 | 1.0096 | 1095.4567 | 0.87719 | 0.19863 | 1432.3533 | 4.3562 | 195718.9567 | 5.7646 | 115169.88 | 3.4957 | 338515.0267 | 0.17115 | 2406987.0467 | 5.2321
| FALSE | 037BLKV.D | 0 | 2013-06-04 14:59 | BlkVrfy |  | 1 | 2102 | <1.883 | 1577.9933 | 6.8709 | <69.367 | 64924.6567 | 1.7015 | <2.750 | 158.8967 | 10.7639 | <0.028 | 160.01 | 8.3307 | <0.884 | 11335.4533 | 1.6308 | <1.578 | 268.9067 | 19.8856 | 0.019169 | 1185.65 | 4.2672 | <0.170 | 695.6033 | 10.1019 | <0.259 | 458.9133 | 10.0211 | <0.215 | 711.6167 | 1.6229 | <0.096 | 1561.2567 | 8.4993 | 192012.81 | 1.0723 | 116350.83 | 0.20919 | 347387.43 | 4.1773 | 2429219.6 | 0.92212
Ca[1]: Calibration Stability(QC1) value = 128.50% is outside the allowed range [80.00%, 120.00%] | FALSE | 038_QC1.D | Check-10 | 2013-06-04 15:04 | QC1 |  | 1 | 2201 | 10.1166 | 21713.4367 | 1.1754 | <69.367 | 78432.8567 | 0.75516 | 12.8504 | 1146.76 | 9.3255 | 9.8888 | 131152.7933 | 0.17271 | 10.0759 | 211486.12 | 0.94655 | 10.2261 | 5207.7033 | 5.5052 | 10.3494 | 271010.6233 | 0.80921 | 10.1136 | 78616.8833 | 0.181 | 10.045 | 46477.4433 | 1.0681 | 9.8419 | 15990.86 | 0.61065 | 9.4402 | 124027.9033 | 0.92572 | 191104.5767 | 2.7225 | 109821.5533 | 2.2591 | 338619.7567 | 0.29492 | 2424197.9667 | 1.8338
Bi[1]: CPS RSD value = 5.07 is over the allowed maximum = 5.00 | FALSE | 039BLKV.D | 0 | 2013-06-04 15:08 | BlkVrfy |  | 1 | 2101 | <1.883 | 1644.6733 | 5.1009 | <69.367 | 62769.27 | 0.84324 | <2.750 | 98.8933 | 34.1014 | 0.028594 | 514.4767 | 3.1969 | <0.884 | 11207.5633 | 2.2777 | <1.578 | 261.1267 | 14.7958 | 0.041766 | 1710.17 | 1.6996 | <0.170 | 845.6133 | 9.3659 | <0.259 | 487.8033 | 8.7078 | <0.215 | 701.3733 | 1.0332 | 0.15007 | 2632.5567 | 3.2795 | 176305.2367 | 4.8492 | 109894.86 | 1.9919 | 335511.26 | 1.6463 | 2326883.5933 | 5.065
Ca[1]: Concentration value = 37941.15 is over the calibration range | FALSE | 040SMPL.D | 1972-6 | 2013-06-04 15:13 | Sample |  | 3.0074 | 3401 | 2384.2114 | 1615973.17 | 0.68247 | 1625.1122 | 918181.41 | 1.1769 | 114104.5049 | 3076536.4467 | 0.71976 | 7.4177 | 33353.3933 | 1.9272 | 56.8036 | 394380.0367 | 1.7359 | 84.8409 | 14127.6633 | 0.83909 | 6.189 | 55276.5833 | 1.3125 | 93.0787 | 243043.2233 | 0.90658 | 99.4203 | 154526.8933 | 0.84552 | 1.3184 | 1364.48 | 0.69675 | 0.806 | 4239.64 | 1.801 | 185235.6667 | 1.9577 | 111587.6967 | 0.43353 | 340833.3967 | 2.8144 | 2370641.1267 | 1.0093
Ca[1]: Concentration value = 17280.24 is over the calibration range Ge[2]: CPS RSD value = 5.72 is over the allowed maximum = 5.00 | FALSE | 041SMPL.D | 1974-1 | 2013-06-04 15:17 | Sample |  | 5.4 | 3402 | 1634.0012 | 629927.9767 | 0.56139 | 911.5077 | 335218.09 | 0.90323 | 93313.273 | 1428988.9733 | 1.0507 | 13.2074 | 33731.78 | 3.1183 | 20.8451 | 90155.3267 | 0.61682 | 43.4265 | 4308.53 | 1.4316 | 1.1452 | 6383.7233 | 0.39238 | 73.8263 | 109895.6067 | 1.1998 | 78.7115 | 69721.88 | 0.83979 | 1.1192 | 1060.48 | 1.0297 | 0.78462 | 2661.45 | 1.8761 | 193302.36 | 0.31278 | 113799.64 | 0.66994 | 360885.35 | 5.7166 | 2427597.22 | 0.58678
Ca[1]: Concentration value = 45949.20 is over the calibration range | FALSE | 042SMPL.D | 1974-2 | 2013-06-04 15:21 | Sample |  | 2.045 | 3403 | 1816.667 | 1855295.32 | 0.26681 | 949.2017 | 816953.6267 | 0.54567 | 93966.1074 | 3817933.4167 | 1.241 | 5.9762 | 40464.5733 | 2.1576 | 10.7484 | 119708.7467 | 0.23312 | 33.888 | 8620.4 | 1.8245 | 2.1409 | 29132.0267 | 1.4883 | 60.925 | 239754.19 | 0.58898 | 64.9333 | 152101.99 | 0.17173 | 1.1194 | 1548.65 | 0.73345 | 0.12086 | 1501.26 | 9.4903 | 199356.0267 | 1.0355 | 114343.8767 | 0.35155 | 343613.6867 | 0.093913 | 2379551.6633 | 0.73983
Ca[1]: Concentration value = 27618.36 is over the calibration range | FALSE | 043SMPL.D | 1975-1 | 2013-06-04 15:26 | Sample |  | 3.4333 | 3404 | 1602.5412 | 978793.9933 | 1.2133 | 1286.636 | 673856.4933 | 0.9655 | 94823.0261 | 2302586.2333 | 0.37837 | 4.4591 | 18124.9433 | 1.7859 | 12.9298 | 88921.5533 | 1.0446 | 36.5596 | 5659.0033 | 4.237 | 1.4296 | 12014.8033 | 0.82189 | 70.9604 | 167117.1833 | 0.67553 | 75.998 | 106519.9267 | 1.4957 | 1.3709 | 1327.14 | 0.83507 | 1.7006 | 7463.26 | 1.7096 | 191054.5067 | 2.2455 | 114733.07 | 0.59935 | 346860.2633 | 0.4497 | 2382013.9733 | 1.6571
Ca[1]: Concentration value = 17193.62 is over the calibration range | FALSE | 044SMPL.D | 1975-2 | 2013-06-04 15:30 | Sample |  | 5.1 | 3405 | 1536.3484 | 628898.7967 | 0.59387 | 1059.8096 | 399440.64 | 1.1297 | 87687.4824 | 1425835.1167 | 0.95793 | 6.1236 | 16675.66 | 2.3347 | 26.3813 | 117741.5133 | 0.99609 | 47.6098 | 4969.8667 | 3.787 | 0.96396 | 5774.5833 | 4.3044 | 79.1474 | 124997.9333 | 0.78565 | 84.3032 | 79236.8767 | 0.89853 | 1.2792 | 1092.9467 | 0.82981 | 0.14837 | 1090.0833 | 7.5345 | 193308.6767 | 0.70349 | 114125.5033 | 0.83539 | 347657.5867 | 0.54017 | 2385441.2833 | 0.1754
Ca[1]: Concentration value = 42893.42 is over the calibration range Sc[1]: CPS RSD value = 7.15 is over the allowed maximum = 5.00 Ge[1]: CPS RSD value = 7.99 is over the allowed maximum = 5.00 Bi[1]: CPS RSD value = 7.78 is over the allowed maximum = 5.00 | FALSE | 045SMPL.D | 1975-3 | 2013-06-04 15:35 | Sample |  | 3.1538 | 3406 | 2777.1559 | 1653024.4033 | 1.1383 | 1468.6956 | 736572.75 | 1.8514 | 135279.2424 | 3202023.11 | 1.6497 | 12.907 | 50889.9633 | 2.2678 | 105.0796 | 633857.6933 | 1.737 | 140.1426 | 20349.8867 | 2.827 | 1.7992 | 14520.2667 | 2.1242 | 143.9465 | 329773.37 | 1.3504 | 153.7282 | 209693.7567 | 0.90911 | 1.3107 | 1354.61 | 0.6324 | 0.19679 | 1387.9067 | 3.2798 | 172542.3333 | 7.1505 | 103168.6033 | 7.9899 | 347247.66 | 0.50059 | 2089232.0167 | 7.7775
Ca[1]: Concentration value = 21247.21 is over the calibration range Ge[2]: CPS RSD value = 6.53 is over the allowed maximum = 5.00 | FALSE | 046SMPL.D | 1975-4 | 2013-06-04 15:39 | Sample |  | 5.52 | 3407 | 2266.5123 | 868885.1 | 0.26311 | 1495.8113 | 509087.47 | 0.75029 | 117284.5904 | 1787205.46 | 0.71219 | 10.8344 | 27559.19 | 1.7572 | 26.2352 | 110555.32 | 0.47806 | 52.5201 | 5132.1367 | 1.2437 | 4.8919 | 25064.2167 | 1.5274 | 109.3872 | 161693.29 | 1.1907 | 115.3287 | 101466.3967 | 0.80174 | 2.7111 | 1423.1733 | 0.46127 | 1.2313 | 3778.4067 | 2.9091 | 195596.4767 | 1.9315 | 115754.6733 | 1.0652 | 336026.89 | 6.5334 | 2410526.5767 | 0.63453
Ca[1]: Concentration value = 19542.45 is over the calibration range | FALSE | 047SMPL.D | 1975-5 | 2013-06-04 15:43 | Sample |  | 5.8571 | 3408 | 2271.1838 | 820668.3533 | 0.85091 | 1214.2221 | 404335.78 | 1.0631 | 114462.9072 | 1643860.1133 | 1.2512 | 11.5183 | 27613.6167 | 0.84989 | 24.2435 | 97593.7933 | 0.59569 | 58.0235 | 5332.5133 | 20.4104 | 2.1352 | 10692.7567 | 0.4693 | 110.1313 | 153454.3933 | 0.1541 | 117.642 | 97557.44 | 0.6696 | 2.1385 | 1301.7433 | 1.4918 | 2.6485 | 6935.13 | 3.2171 | 195773.11 | 1.1138 | 115751.5433 | 0.65506 | 354766.6267 | 0.65381 | 2407103.7167 | 0.82451
Ca[1]: Concentration value = 54781.69 is over the calibration range | FALSE | 048SMPL.D | 1975-6 | 2013-06-04 15:48 | Sample |  | 1.9286 | 3409 | 2038.0283 | 2221307.97 | 1.3838 | 1235.015 | 1110880.4533 | 4.2319 | 105650.4077 | 4581606.9467 | 0.60072 | 12.4001 | 89447.4433 | 0.59102 | 272.7841 | 2980436.7633 | 0.5207 | 296.2963 | 78091.53 | 1.2197 | 3.6641 | 52684.5167 | 1.1403 | 127.0645 | 532804.8967 | 0.87683 | 135.2959 | 337728.9867 | 0.42828 | 1.0809 | 1666.7967 | 1.1106 | 4.3668 | 31718.3267 | 1.4157 | 203982.8933 | 0.18838 | 115096.5433 | 0.82214 | 365401.0333 | 3.7793 | 2347124.0067 | 0.3024
Fe[1]: CPS RSD value = 30.23 is over the allowed maximum = 5.00 | FALSE | 049BLKV.D | 0 | 2013-06-04 15:52 | BlkVrfy |  | 1 | 2101 | <1.883 | 1706.9 | 11.3026 | <69.367 | 69118.4233 | 1.116 | 5.4972 | 596.7067 | 4.9653 | 0.030986 | 581.1467 | 2.5864 | <0.884 | 15692.9533 | 30.2316 | <1.578 | 271.1333 | 14.6709 | 0.040328 | 1779.0633 | 3.842 | <0.170 | 898.9567 | 9.3915 | <0.259 | 534.48 | 14.8824 | <0.215 | 792.2833 | 0.59968 | <0.096 | 1479.0267 | 6.8167 | 195632.9267 | 0.84271 | 116865.56 | 0.66981 | 352831.9367 | 0.93221 | 2444729.8067 | 0.90795
Ca[1]: Concentration value = 36308.57 is over the calibration range | FALSE | 050SMPL.D | 1994-1 | 2013-06-04 15:57 | Sample |  | 3.375 | 3410 | 2572.7317 | 1587668.7233 | 1.2303 | 2181.0853 | 1109792.3967 | 4.3561 | 122541.4238 | 3008136.83 | 0.87803 | 17.2539 | 70480.69 | 0.7733 | 19.3143 | 129074.07 | 1.5574 | 49.2619 | 7605.42 | 1.5589 | 1.4066 | 11950.3933 | 2.1111 | 121.0123 | 287571.2567 | 0.67104 | 128.6045 | 181914.54 | 1.127 | 2.0152 | 1667.33 | 1.2275 | <0.096 | 848.9567 | 5.3313 | 185305.8033 | 0.091929 | 114015.99 | 0.56553 | 352128.5967 | 1.7335 | 2350769.2533 | 1.3905
Ca[1]: Concentration value = 50606.26 is over the calibration range | FALSE | 051SMPL.D | 1996-1 | 2013-06-04 16:01 | Sample |  | 1.9714 | 3411 | 2011.4951 | 2140656.36 | 1.4498 | 347.8125 | 350822.39 | 0.62297 | 99766.6274 | 4224255.1433 | 1.2347 | 14.3276 | 100886.0467 | 0.67504 | 13.6998 | 155730.38 | 0.80683 | 39.1842 | 10328.1 | 3.3078 | 1.8682 | 26547.6767 | 0.56351 | 75.2001 | 308163.66 | 0.31116 | 80.4225 | 196183.2733 | 0.54776 | 1.315 | 1778.8733 | 0.63324 | <0.096 | 1066.7533 | 5.422 | 196779.26 | 2.2848 | 114880.5667 | 1.6488 | 351795.7533 | 0.5432 | 2323520.99 | 2.538
Ca[1]: Concentration value = 78241.49 is over the calibration range Sc[1]: CPS RSD value = 11.53 is over the allowed maximum = 5.00 Ge[1]: CPS RSD value = 10.29 is over the allowed maximum = 5.00 Bi[1]: CPS RSD value = 14.26 is over the allowed maximum = 5.00 | FALSE | 052SMPL.D | 1996-2 | 2013-06-04 16:05 | Sample |  | 1.6196 | 3412 | 2669.0105 | 3200755.9933 | 1.7529 | 700.8182 | 712925.44 | 1.0976 | 126720.5269 | 6047684.6333 | 1.124 | 7.8869 | 62671.0267 | 0.42046 | 73.9432 | 895630.3933 | 1.4146 | 107.9216 | 31460.7933 | 1.1065 | 0.78594 | 12889.9567 | 0.74311 | 64.8494 | 299597.6633 | 0.53084 | 68.9982 | 189806.41 | 1.4731 | 1.157 | 1873.3067 | 0.15929 | <0.096 | 1045.64 | 6.8844 | 184703.78 | 11.5253 | 107203.05 | 10.2912 | 355181.8667 | 0.2586 | 2150789.03 | 14.2601
| FALSE | 053BLKV.D | 0 | 2013-06-04 16:10 | BlkVrfy |  | 1 | 2101 | <1.883 | 1775.8233 | 2.0678 | <69.367 | 68548.8833 | 2.0144 | 2.9976 | 385.5833 | 21.5331 | <0.028 | 535.59 | 12.076 | <0.884 | 13369.3367 | 3.2772 | <1.578 | 327.7967 | 11.2483 | 0.040988 | 1804.6267 | 2.0351 | <0.170 | 842.2867 | 6.398 | <0.259 | 590.04 | 9.3352 | <0.215 | 816.4667 | 1.1556 | <0.096 | 1206.7667 | 1.5376 | 194433.72 | 0.64374 | 117304.6467 | 0.60381 | 355935.9167 | 0.73005 | 2436040.64 | 1.2529
K[1]: Calibration Stability(QC1) value = 120.73% is outside the allowed range [80.00%, 120.00%] Ca[1]: Calibration Stability(QC1) value = 137.63% is outside the allowed range [80.00%, 120.00%] | FALSE | 054_QC1.D | Check-10 | 2013-06-04 16:14 | QC1 |  | 1 | 2201 | 9.9869 | 21871.5033 | 2.3683 | <69.367 | 80281.7867 | 0.33747 | 13.7634 | 1243.4333 | 3.5469 | 9.7716 | 132061.48 | 0.21772 | 9.8242 | 210405.0033 | 1.323 | 9.9434 | 5173.2667 | 4.0555 | 10.1796 | 271643.6767 | 0.57634 | 10.015 | 79335.6067 | 0.77988 | 9.7729 | 46110.9467 | 2.0419 | 9.8915 | 16583.2633 | 0.28664 | 9.1922 | 123094.85 | 0.76764 | 193793.0433 | 1.1169 | 111943.0167 | 3.1094 | 349503.0833 | 1.1631 | 2444822.69 | 0.65787
Sc[1]: CPS RSD value = 23.28 is over the allowed maximum = 5.00 Sc[1]: ISTD Recovery Percent value = 189.76 is outside the allowed range [80.00, 120.00] Ge[1]: CPS RSD value = 15.77 is over the allowed maximum = 5.00 Ge[1]: ISTD Recovery Percent value = 234.92 is outside the allowed range [80.00, 120.00] Bi[1]: CPS RSD value = 24.78 is over the allowed maximum = 5.00 Bi[1]: ISTD Recovery Percent value = 207.45 is outside the allowed range [80.00, 120.00] Ge[2]: CPS RSD value = 13.62 is over the allowed maximum = 5.00 Ge[2]: ISTD Recovery Percent value = 361.64 is outside the allowed range [80.00, 120.00] | FALSE | 055BLKV.D | 0 | 2013-06-04 16:19 | BlkVrfy |  | 1 | 2102 | <1.883 | 197.7967 | 43.3417 | <69.367 | 36016.9767 | 3.5734 | <2.750 | 104.45 | 56.2257 | <0.028 | 78.8967 | 36.4283 | <0.884 | 2799.3133 | 4.4675 | <1.578 | 70.0033 | 33.328 | <0.017 | 533.3667 | 9.9217 | <0.170 | 657.8267 | 11.3921 | <0.259 | 461.14 | 9.1537 | <0.215 | 799.53 | 1.9733 | <0.096 | 1294.5733 | 14.3246 | 377200.6033 | 23.2767 | 279301.0367 | 15.7702 | 1190754.4267 | 13.6171 | 4984042.1133 | 24.7752
Ca[1]: Concentration value = 48312.15 is over the calibration range | FALSE | 056SMPL.D | 1996-3 | 2013-06-04 16:23 | Sample |  | 2.2162 | 3501 | 2117.1411 | 1899289.0333 | 1.6262 | 539.0061 | 435789.1533 | 0.55478 | 107070.1693 | 3821469.9433 | 1.1103 | 16.686 | 99045.44 | 1.7844 | 15.4328 | 147873.45 | 0.79563 | 41.1861 | 9171.84 | 3.0198 | 1.7768 | 21383.4933 | 2.3368 | 72.2581 | 249720.4833 | 1.3066 | 76.942 | 158293.2167 | 1.6884 | 1.2459 | 1524.7167 | 0.97864 | 0.22177 | 1960.21 | 4.7894 | 187225.2567 | 0.73283 | 108855.2467 | 1.1724 | 333316.4567 | 1.8805 | 2308028.1433 | 1.2195
Ca[1]: Concentration value = 21755.91 is over the calibration range | FALSE | 057SMPL.D | 1996-4 | 2013-06-04 16:27 | Sample |  | 4.3158 | 3502 | 1706.4309 | 827684.0667 | 0.66644 | 869.8345 | 390558.0867 | 0.44954 | 93893.9339 | 1810060.53 | 0.42509 | 17.5924 | 56462.2367 | 0.43477 | 25.737 | 134648.42 | 0.896 | 48.5202 | 5946.8733 | 2.2825 | 2.7054 | 17722.3467 | 1.5963 | 64.8996 | 121543.9233 | 1.5089 | 68.7979 | 76679.18 | 1.2268 | 1.2952 | 1178.3567 | 0.6346 | 0.23304 | 1433.47 | 5.6588 | 194578.5633 | 0.28395 | 114493.4367 | 0.80492 | 349624.9967 | 0.29647 | 2386248.9433 | 0.47348
| FALSE | 058BLKV.D | 0 | 2013-06-04 16:32 | BlkVrfy |  | 1 | 2101 | <1.883 | 1646.89 | 7.2986 | <69.367 | 66301.3433 | 0.95662 | <2.750 | 295.57 | 9.5909 | <0.028 | 496.6967 | 8.382 | <0.884 | 11845.8433 | 1.1565 | <1.578 | 250.01 | 13.5322 | 0.036331 | 1634.5967 | 3.3782 | <0.170 | 827.8333 | 3.3528 | <0.259 | 567.8133 | 17.4785 | <0.215 | 796.2167 | 1.7967 | <0.096 | 1383.4567 | 2.7789 | 185920.4133 | 2.8891 | 114513.8667 | 0.52724 | 352637.91 | 0.28943 | 2366144.1867 | 2.2933
Ca[1]: Calibration Stability(QC1) value = 134.14% is outside the allowed range [80.00%, 120.00%] | FALSE | 059_QC1.D | Check-10 | 2013-06-04 16:36 | QC1 |  | 1 | 2201 | 9.5601 | 20965.7233 | 3.2161 | <69.367 | 78011.0467 | 0.66865 | 13.4145 | 1213.44 | 2.3468 | 9.5444 | 128867.7433 | 0.86502 | 9.6168 | 205923.8167 | 1.0697 | 9.9068 | 5148.8033 | 0.48995 | 10.0002 | 266594.4567 | 0.22142 | 9.6771 | 76606.4333 | 0.28759 | 9.6667 | 45558.36 | 1.0263 | 9.8765 | 16426.0633 | 0.45317 | 8.9698 | 120007.48 | 0.97383 | 179434.1767 | 3.6569 | 111768.5433 | 1.175 | 346679.05 | 0.93013 | 2334214.48 | 3.3461
K[1]: CPS RSD value = 10.88 is over the allowed maximum = 5.00 Sc[1]: CPS RSD value = 46.46 is over the allowed maximum = 5.00 Sc[1]: ISTD Recovery Percent value = 219.70 is outside the allowed range [80.00, 120.00] Ge[1]: CPS RSD value = 55.10 is over the allowed maximum = 5.00 Ge[1]: ISTD Recovery Percent value = 215.54 is outside the allowed range [80.00, 120.00] Bi[1]: CPS RSD value = 46.80 is over the allowed maximum = 5.00 Bi[1]: ISTD Recovery Percent value = 244.29 is outside the allowed range [80.00, 120.00] | FALSE | 060BLKV.D | 0 | 2013-06-04 16:41 | BlkVrfy |  | 1 | 2102 | <1.883 | 1137.9367 | 61.2763 | <69.367 | 61776.055 | 10.8801 | <2.750 | 180.01 | 16.9746 | <0.028 | 220.01 | 34.1496 | <0.884 | 8563.1833 | 56.0777 | <1.578 | 212.2333 | 55.9836 | <0.017 | 1014.52 | 30.6184 | <0.170 | 903.4 | 22.2543 | <0.259 | 575.59 | 17.948 | <0.215 | 756.8833 | 1.1415 | <0.096 | 2674.8233 | 38.5858 | 436722.67 | 46.4584 | 256268.6967 | 55.1042 | 343676.68 | 1.2624 | 5868936.5433 | 46.7956
| TRUE | 061SMPL.D | Cem2 Ctl | 2013-06-04 16:45 | Sample |  | 866 | 3303
| FALSE | 062BLKV.D | 0 | 2013-06-04 16:49 | BlkVrfy |  | 1 | 2101 | <1.883 | 1882.4967 | 8.1265 | <69.367 | 61114.3633 | 1.0938 | <2.750 | 95.56 | 14.5256 | <0.028 | 338.9067 | 8.2498 | <0.884 | 11962.5533 | 1.2767 | <1.578 | 277.7933 | 6.8238 | 0.027875 | 1324.5633 | 6.8111 | <0.170 | 624.48 | 8.1543 | <0.259 | 420.0233 | 2.0989 | <0.215 | 763.8167 | 0.57685 | 0.6498 | 9014.0733 | 3.1116 | 178252.1767 | 0.20819 | 108037.4533 | 0.77004 | 343129.9933 | 0.7109 | 2383241.23 | 0.96965
| FALSE | 063_QC1.D | Check-10 | 2013-06-04 16:54 | QC1 |  | 1 | 2201 | 9.4701 | 20385.18 | 4.1634 | <69.367 | 77365.2733 | 0.34872 | 11.8493 | 1065.6367 | 4.4281 | 9.3222 | 123463.3233 | 0.19767 | 9.4962 | 199580.7567 | 0.97006 | 9.7087 | 4955.4133 | 5.0381 | 9.8639 | 257946.2967 | 1.2841 | 9.6422 | 74878.27 | 1.2457 | 9.5675 | 44232.4667 | 1.2739 | 9.7699 | 16231.54 | 0.28071 | 9.2123 | 120875.51 | 0.71139 | 180479.9333 | 0.38278 | 109628.2533 | 0.82335 | 346150.9867 | 0.58453 | 2391248.6267 | 0.93964
| FALSE | 064BLKV.D | 0 | 2013-06-04 16:58 | BlkVrfy |  | 1 | 2101 | <1.883 | 1838.05 | 6.0956 | <69.367 | 61410.6433 | 0.2181 | <2.750 | 92.23 | 19.907 | <0.028 | 208.9 | 8.188 | <0.884 | 10628.2733 | 0.58069 | <1.578 | 268.9233 | 16.8855 | <0.017 | 977.85 | 2.1654 | <0.170 | 575.5933 | 7.8198 | <0.259 | 293.3467 | 22.1817 | <0.215 | 783.5967 | 1.1111 | 0.17935 | 2984.8467 | 4.8048 | 176768.6933 | 0.52692 | 108826.6533 | 1.1541 | 348227.46 | 0.46575 | 2357849.53 | 1.1809
Sc[1]: CPS RSD value = 6.89 is over the allowed maximum = 5.00 Bi[1]: CPS RSD value = 6.23 is over the allowed maximum = 5.00 | FALSE | 065BLKV.D | 0 | 2013-06-04 17:03 | BlkVrfy |  | 1 | 2102 | <1.883 | 2051.44 | 3.0187 | <69.367 | 61912.72 | 1.1626 | <2.750 | 112.2267 | 11.2439 | <0.028 | 113.3367 | 5.0941 | <0.884 | 9914.54 | 3.3728 | <1.578 | 231.1233 | 12.9261 | <0.017 | 631.1533 | 2.9082 | <0.170 | 463.36 | 4.7182 | <0.259 | 243.3467 | 8.9837 | <0.215 | 786.6433 | 0.10784 | <0.096 | 1642.3767 | 2.5696 | 174202.6167 | 6.8906 | 107915.14 | 3.1064 | 345792.5733 | 0.72794 | 2317137.69 | 6.2258
Sc[1]: CPS RSD value = 6.43 is over the allowed maximum = 5.00 Ge[1]: CPS RSD value = 5.02 is over the allowed maximum = 5.00 Bi[1]: CPS RSD value = 6.46 is over the allowed maximum = 5.00 | FALSE | 066CALB.D | 0 | 2013-06-04 17:07 | CalBlk | 1 | 1 | 2102 | <2.076 | 1880.2933 | 9.2422 | <41.892 | 61845.9467 | 1.7868 | <3.576 | 111.1167 | 17.5786 | <0.016 | 94.4467 | 18.115 | <0.432 | 10024.9067 | 4.6391 | <0.838 | 187.7867 | 18.8133 | <0.043 | 690.0467 | 9.6624 | <0.072 | 422.2467 | 4.0506 | <0.176 | 282.2367 | 14.2397 | <0.073 | 783.44 | 0.74138 | <0.142 | 1253.4433 | 11.3242 | 170195.0067 | 6.4342 | 106316.74 | 5.02 | 351005.9833 | 0.32827 | 2288505.3467 | 6.4565
| FALSE | 067CALS.D | 0.5 | 2013-06-04 17:11 | CalStd | 2 | 1 | 2103 | <2.076 | 2558.2033 | 4.6063 | <41.892 | 62220.62 | 1.3536 | <3.576 | 287.7967 | 16.4356 | 0.47889 | 6343.72 | 2.2611 | 0.7441 | 25101.97 | 2.4819 | 0.9493 | 665.6 | 2.758 | 0.48101 | 13355.88 | 1.162 | 0.51732 | 4459.69 | 1.7716 | 0.51136 | 2663.66 | 5.9544 | 0.50825 | 1556.54 | 0.28919 | 0.43306 | 7136.3467 | 2.2868 | 179297.8167 | 0.54453 | 108641.8633 | 0.25298 | 347961.2233 | 0.38251 | 2402570.92 | 0.76873
| FALSE | 068CALS.D | 1 | 2013-06-04 17:16 | CalStd | 3 | 1 | 2104 | <2.076 | 3389.5333 | 3.6404 | <41.892 | 63443.0267 | 1.5558 | <3.576 | 260.0167 | 4.4409 | 0.92953 | 12112.68 | 3.7242 | 0.886 | 27684 | 1.1068 | 0.86298 | 616.7033 | 7.0271 | 0.97552 | 26121.4933 | 1.6863 | 0.95208 | 7773.2833 | 1.8609 | 0.95981 | 4703.1 | 1.1479 | 1.0085 | 2312.3633 | 0.59972 | 0.82185 | 12282.9967 | 0.46304 | 175722.83 | 1.5685 | 107687.8667 | 1.3719 | 346216.49 | 0.97448 | 2345763.6633 | 0.43222
| FALSE | 069CALS.D | 2 | 2013-06-04 17:20 | CalStd | 4 | 1 | 2105 | <2.076 | 5321.3267 | 4.0975 | <41.892 | 64636.77 | 1.5145 | 5.7044 | 551.1467 | 9.0796 | 1.9112 | 25050.6933 | 1.0661 | 1.8096 | 46402.2733 | 1.595 | 1.8259 | 1104.5333 | 9.2207 | 2.0282 | 54091.3467 | 1.4415 | 1.9372 | 15527.9067 | 3.9646 | 1.9437 | 9320.7967 | 3.7847 | 2.0497 | 3893.0133 | 0.76483 | 1.7203 | 24562.02 | 0.30809 | 180399.5667 | 0.86919 | 108737.27 | 0.45252 | 345396.08 | 0.55109 | 2393118.4033 | 1.1898
Sc[1]: CPS RSD value = 8.19 is over the allowed maximum = 5.00 Bi[1]: CPS RSD value = 7.16 is over the allowed maximum = 5.00 | FALSE | 070CALS.D | 5 | 2013-06-04 17:24 | CalStd | 5 | 1 | 2106 | 5.0399 | 11111.3367 | 2.372 | <41.892 | 68794.9367 | 1.0577 | 9.3147 | 768.9433 | 12.5445 | 5.072 | 61718.25 | 1.734 | 5.0803 | 103954.2733 | 1.6354 | 5.0533 | 2532.5367 | 3.2789 | 5.2628 | 129546.7833 | 2.1811 | 6.3317 | 46310.27 | 1.3817 | 6.326 | 27623.9667 | 1.4348 | 5.2224 | 8662.95 | 0.31647 | 4.6812 | 60153.63 | 0.898 | 166890.0667 | 8.1911 | 101351.7967 | 4.3805 | 342926.8867 | 0.6583 | 2245812.9 | 7.1626
| FALSE | 071CALS.D | 10 | 2013-06-04 17:29 | CalStd | 6 | 1 | 2107 | 9.3281 | 20089.1633 | 1.0749 | <41.892 | 78051.4467 | 1.52 | 11.3269 | 964.5133 | 9.3662 | 9.771 | 125403.9633 | 0.16789 | 9.7033 | 200401.6133 | 0.16514 | 9.6634 | 4936.52 | 2.8228 | 9.965 | 258306.9367 | 0.34856 | 9.8063 | 75470.2867 | 1.2707 | 9.8459 | 45216.1333 | 0.96132 | 10.4004 | 16511.1033 | 0.76831 | 8.9819 | 120644.6 | 0.36573 | 177015.1 | 1.214 | 106802.4667 | 0.65005 | 343289.94 | 0.5453 | 2362632.5333 | 0.83678
| FALSE | 072CALS.D | 50 | 2013-06-04 17:33 | CalStd | 7 | 1 | 2108 | 48.3398 | 95910.4067 | 1.2274 | 46.1181 | 130587.4333 | 1.2236 | 49.8199 | 3852.84 | 1.3421 | 48.5208 | 620615.85 | 0.39298 | 48.2587 | 953955.9667 | 0.3853 | 47.055 | 23245.8567 | 0.54001 | 52.7656 | 1360963.1733 | 0.78069 | 48.1536 | 367892.6033 | 0.41421 | 48.1817 | 219538.9233 | 0.62755 | 52.07 | 79015.5633 | 0.27989 | 45.2187 | 600605.2433 | 0.21188 | 173839.71 | 0.46868 | 106507.9033 | 1.0896 | 340802.5433 | 0.72547 | 2387468.7333 | 0.79504
| FALSE | 073CALS.D | 100 | 2013-06-04 17:38 | CalStd | 8 | 1 | 2109 | 96.5585 | 186966.5533 | 1.008 | 92.8924 | 197188.19 | 0.93599 | 103.8657 | 7798.8067 | 1.9493 | 103.6286 | 1306429.6433 | 0.9427 | 102.941 | 1994611.5 | 0.8784 | 96.6565 | 46872.6733 | 0.9859 | 106.4467 | 2705598.2933 | 0.83441 | 97.2746 | 732122.6367 | 0.82095 | 97.5902 | 438037.62 | 0.24589 | 105.9182 | 158405.6567 | 0.48438 | 100.2258 | 1310715.5367 | 0.68636 | 172748.69 | 1.4937 | 104981.8933 | 0.41938 | 337528.2367 | 0.92508 | 2363214.6533 | 0.8255
| FALSE | 074CALS.D | 1000 | 2013-06-04 17:42 | CalStd | 9 | 1 | 2110 | 1024.5752 | 1891457.42 | 0.91726 | 1024.7483 | 1502128.19 | 0.46042 | 1022.1035 | 72904.12 | 0.8372 | 1032.3627 | 12520903.5633 | 0.73987 | 1025.122 | 19024278.8833 | 0.52563 | 974.9919 | 453271.43 | 0.16389 | 1043.515 | 25510739.0667 | 0.81612 | 1036.4884 | 7501002.46 | 0.86501 | 1040.811 | 4491684.8967 | 0.75823 | 999.2995 | 1636124.6667 | 4.3781 | 1013.5219 | 12740282.45 | 0.80718 | 178882.57 | 2.5925 | 101005.2867 | 1.1496 | 371244.2233 | 2.5764 | 2292917.0833 | 0.62907
| FALSE | 075CALS.D | 2000 | 2013-06-04 17:47 | CalStd | 10 | 1 | 2111 | 1996.2675 | 3748662.1633 | 0.45533 | 2016.484 | 2950192.2167 | 0.40626 | 2004.6392 | 145410.9167 | 0.45898 | 2002.477 | 24717462.6867 | 1.0692 | 1994.3961 | 37659319.44 | 0.85565 | 1899.3919 | 898522.0967 | 0.51031 | 2016.9062 | 50182809.2533 | 0.37454 | 2018.2643 | 14865102.42 | 0.34786 | 2021.5741 | 8879016.4667 | 0.36565 | 0.48081 | 1508.67 | 0.54784 | 2004.3157 | 25640829.62 | 0.08436 | 183558.0567 | 0.5685 | 102794.8567 | 1.1199 | 346656.02 | 1.297 | 2312588.61 | 1.0529
| FALSE | 076CALS.D | 5000 | 2013-06-04 17:52 | CalStd | 11 | 1 | 2112 | 3995.8311 | 7429759.1967 | 1.029 | 3985.7941 | 5717300.26 | 1.0382 | 3992.0491 | 286680.0633 | 1.2839 | 3990.5991 | 48782093.1633 | 1.2123 | 3996.4704 | 74725357.7767 | 1.0283 | 4056.6773 | 1900312.8367 | 1.2887 | 3980.4722 | 98084982.9833 | 1.0135 | 3981.8358 | 29045088.4567 | 0.8715 | 3979.0919 | 17308496.4067 | 1.1419 | 0.70597 | 1907.4 | 0.24468 | 3994.5189 | 50606804.8033 | 0.45849 | 184889.93 | 0.86851 | 101798.8567 | 0.65088 | 356857.98 | 1.0656 | 2252595.82 | 0.41692
Fe[1]: CPS RSD value = 10.68 is over the allowed maximum = 5.00 Cu[1]: CPS RSD value = 39.24 is over the allowed maximum = 5.00 Sn[1]: CPS RSD value = 11.54 is over the allowed maximum = 5.00 | FALSE | 077BLKV.D | 0 | 2013-06-04 17:57 | BlkVrfy |  | 1 | 2101 | <2.076 | 2122.5667 | 17.9985 | <41.892 | 56679.1967 | 1.0352 | <3.576 | 120.0067 | 33.6769 | 0.25762 | 3232.77 | 59.611 | 0.92189 | 26767.0233 | 10.6794 | 1.1976 | 737.8267 | 17.1706 | 0.38432 | 10107.18 | 39.2369 | 0.60368 | 4796.4967 | 28.7255 | 0.59589 | 2855.9633 | 26.012 | <0.073 | 746.7933 | 0.92829 | 1.2068 | 16441.4767 | 11.5399 | 161936.1167 | 0.76949 | 101480.58 | 0.52808 | 332170.5533 | 1.0002 | 2303066.91 | 0.43087
| TRUE | 078_QC1.D | Check-10 | 2013-06-04 18:02 | QC1 |  | 1 | 2201
| FALSE | 079BLKV.D | 0 | 2013-06-04 18:06 | BlkVrfy |  | 1 | 2101 | <2.076 | 1860.27 | 6.2799 | <41.892 | 55399.06 | 0.55552 | <3.576 | 116.6767 | 22.3155 | 0.01739 | 314.46 | 28.1742 | <0.432 | 14861.6833 | 1.2709 | <0.838 | 376.6867 | 11.0887 | 0.050574 | 1981.31 | 4.472 | 0.081902 | 1041.19 | 6.9585 | <0.176 | 641.1533 | 4.3607 | <0.073 | 737.7933 | 0.42809 | 0.35093 | 5862.4433 | 6.2325 | 174708.7167 | 0.67223 | 105698.1433 | 0.28936 | 337138.6 | 0.63948 | 2397177.7967 | 0.49603
| FALSE | 080BLKV.D | 0 | 2013-06-04 18:11 | BlkVrfy |  | 1 | 2101 | <2.076 | 1971.4067 | 1.8629 | <41.892 | 55894.02 | 2.3512 | <3.576 | 92.2267 | 39.6487 | 0.019477 | 343.3533 | 19.4901 | <0.432 | 12853.2933 | 1.1584 | <0.838 | 290.0167 | 10.9653 | <0.043 | 1570.1467 | 2.7847 | <0.072 | 873.3967 | 5.0061 | <0.176 | 516.6967 | 13.883 | <0.073 | 770.6167 | 0.79857 | 0.21615 | 4121.84 | 4.453 | 173345.3667 | 1.1725 | 106522.04 | 0.62998 | 340119.14 | 0.59441 | 2387630.76 | 0.1649
Sc[1]: CPS RSD value = 10.33 is over the allowed maximum = 5.00 Ge[1]: CPS RSD value = 10.26 is over the allowed maximum = 5.00 Bi[1]: CPS RSD value = 8.27 is over the allowed maximum = 5.00 | FALSE | 081BLKV.D | 0 | 2013-06-04 18:15 | BlkVrfy |  | 1 | 2102 | <2.076 | 1682.4667 | 6.2215 | <41.892 | 56075.0633 | 0.95785 | <3.576 | 73.3367 | 19.8128 | <0.016 | 141.12 | 22.4487 | <0.432 | 10950.6967 | 3.3361 | <0.838 | 243.3467 | 1.3705 | <0.043 | 1011.19 | 6.7751 | <0.072 | 638.93 | 5.0677 | <0.176 | 374.4633 | 5.1404 | <0.073 | 768 | 1.3774 | <0.142 | 2819.27 | 9.0581 | 187061.1567 | 10.3345 | 111481.17 | 10.258 | 339717.5667 | 0.66994 | 2520090.22 | 8.2675
Sc[1]: CPS RSD value = 14.00 is over the allowed maximum = 5.00 Ge[1]: CPS RSD value = 10.74 is over the allowed maximum = 5.00 Bi[1]: CPS RSD value = 12.06 is over the allowed maximum = 5.00 | FALSE | 082BLKV.D | 0 | 2013-06-04 18:19 | BlkVrfy |  | 1 | 2101 | <2.076 | 1806.9233 | 6.4664 | <41.892 | 57396.72 | 1.2251 | <3.576 | 84.45 | 31.6628 | 0.017863 | 318.9067 | 6.3005 | <0.432 | 11701.2333 | 3.5737 | <0.838 | 270.0167 | 12.8314 | <0.043 | 1399.01 | 1.6219 | <0.072 | 703.38 | 4.9935 | <0.176 | 416.6933 | 3.2002 | <0.073 | 779.8433 | 0.45593 | <0.142 | 2873.7167 | 6.1316 | 176569.5733 | 14.004 | 106542.5833 | 10.7352 | 343471.53 | 0.23578 | 2392458.0367 | 12.063
| FALSE | 083BLKV.D | 0 | 2013-06-04 18:24 | BlkVrfy |  | 1 | 2102 | <2.076 | 1838.0467 | 9.3218 | <41.892 | 57307.8933 | 3.0493 | <3.576 | 97.78 | 34.9893 | <0.016 | 132.23 | 12.4357 | <0.432 | 10851.79 | 1.4907 | <0.838 | 240.01 | 7.2166 | <0.043 | 1006.7433 | 9.5343 | <0.072 | 610.04 | 6.3018 | <0.176 | 357.8 | 8.3513 | <0.073 | 781.91 | 1.1459 | <0.142 | 2180.24 | 6.2753 | 171585.4467 | 0.38114 | 106186.5333 | 0.48103 | 344294.36 | 1.4016 | 2371946.6667 | 0.86596

## Stability
Tune Step | Mass | Name | R | a | b (blank) | DL | BEC
1 | 24 | Mg | 0.99986 | 0.01825 | 0.013162 | 0.37662 | 0.72117
1 | 39 | K | 0.99986 | 0.014217 | 0.54597 | 13.8733 | 38.404
1 | 44 | Ca | 0.99991 | 0.00072663 | 0.0011118 | 0.54997 | 1.53
1 | 55 | Mn | 0.99994 | 0.12068 | 0.0012339 | 0.0056064 | 0.010224
1 | 56 | Fe | 0.99994 | 0.18246 | 0.087939 | 0.17678 | 0.48197
1 | 57 | Fe | 0.99995 | 0.0044 | 0.0024797 | 0.31562 | 0.56356
1 | 63 | Cu | 0.99981 | 0.23798 | 0.0056291 | 0.0034846 | 0.023654
1 | 64 | Zn | 0.99991 | 0.070163 | 0.00649 | 0.034096 | 0.092498
1 | 66 | Zn | 0.9999 | 0.041774 | 0.0037994 | 0.051726 | 0.09095
2 | 78 | Se | 1 | 0.0045959 | 0.0019912 | 0.043065 | 0.43325
1 | 118 | Sn | 0.99993 | 0.11903 | 0.0060929 | 0.019226 | 0.05119

## Results
Sample measurements: | [20 empty] | Backgrounds and detection limits:
Sample Name | Acq. Date-Time | Dilution | Mg [mg/g] | Mg CoV [mg/g] | K [mg/g] | K CoV [mg/g] | Ca [mg/g] | Ca CoV [mg/g] | Mn [ug/g] | Mn CoV [ug/g] | Fe [ug/g] | Fe CoV [ug/g] | Cu [ug/g] | Cu CoV [ug/g] | Zn [ug/g] | Zn CoV [ug/g] | Se [ug/g] | Se CoV [ug/g] | Sn [ug/g] | Sn CoV [ug/g] | Name | R | a | b (blank) | Detection limit [ppb] | Detection limit × 5 [ppb] | Background equivalent concentration [ppb] | [5 empty] | Sample Name | Acq. Date-Time | Dilution | Mg [ppb] | K [ppb] | Ca [ppb] | 55 [ppb] | Fe [ppb] | Cu [ppb] | Zn [ppb] | Se [ppb] | Sn [ppb]
1964-1 | 2013-06-04 14:20 | 5.8714 | 2.3553 | 0.057644 | 1.1696 | 0.060575 | 126.9404 | 7.0176 | 9.1493 | 0.20399 | 97.7835 | 2.0921 | 9.1427 | 0.15127 | 112.4965 | 1.8179 | 1.2703 | 0.0061486 | 2.9427 | 0.085521 | Mg | 0.99986 | 0.01825 | 0.013162 | 0.37662 | 1.8831 | 0.72117 | [5 empty] | 0 | 2013-06-04 12:36 | 1 | <1.883 | <69.367 | <2.750 | <0.028 | <0.884 | <0.017 | <0.259 | <0.215 | <0.096
1964-2 | 2013-06-04 14:24 | 2.4909 | 2.153 | 0.052692 | 0.79891 | 0.041378 | 110.631 | 6.116 | 8.8299 | 0.19687 | 60.6579 | 1.2978 | 6.0864 | 0.1007 | 120.9957 | 1.9552 | 1.2056 | 0.0058355 | 1.981 | 0.05757 | K | 0.99986 | 0.014217 | 0.54597 | 13.8733 | 69.3665 | 38.404 | [5 empty] | 0.5 | 2013-06-04 12:41 | 1 | <1.883 | <69.367 | <2.750 | 0.48255 | <0.884 | 0.48797 | 0.48589 | 0.48654 | 0.44848
1964-3 | 2013-06-04 14:29 | 3.0148 | 1.9511 | 0.047752 | 0.82136 | 0.04254 | 100.6637 | 5.5649 | 9.6643 | 0.21547 | 89.4909 | 1.9147 | 7.2953 | 0.1207 | 99.6433 | 1.6102 | 1.3448 | 0.006509 | 0.69514 | 0.020202 | Ca | 0.99991 | 0.00072663 | 0.0011118 | 0.54997 | 2.7498 | 1.53 | [5 empty] | 1 | 2013-06-04 12:45 | 1 | <1.883 | <69.367 | <2.750 | 0.98947 | 0.94341 | 0.96238 | 0.95708 | 0.96109 | 0.90224
1964-5 | 2013-06-04 14:33 | 3.1692 | 1.507 | 0.036882 | 0.78113 | 0.040457 | 81.4656 | 4.5036 | 6.4337 | 0.14344 | 27.8952 | 0.59682 | 1.9902 | 0.032928 | 72.6015 | 1.1732 | 1.0668 | 0.0051637 | 0.46721 | 0.013578 | Mn | 0.99994 | 0.12068 | 0.0012339 | 0.0056064 | 0.028032 | 0.010224 | [5 empty] | 2 | 2013-06-04 12:50 | 1 | 2.0273 | <69.367 | 5.1512 | 1.9573 | 2.0184 | 2.0471 | 2.0157 | 1.9686 | 1.8382
1972-1 | 2013-06-04 14:37 | 1.8267 | 1.967 | 0.048141 | 1.0614 | 0.05497 | 107.6688 | 5.9522 | 13.6623 | 0.30461 | 21.3617 | 0.45704 | 1.5637 | 0.025872 | 95.0616 | 1.5362 | 0.98133 | 0.0047499 | 0.84755 | 0.024631 | Fe | 0.99994 | 0.18246 | 0.087939 | 0.17678 | 0.88391 | 0.48197 | [5 empty] | 5 | 2013-06-04 12:54 | 1 | 4.9938 | <69.367 | 8.8777 | 4.9087 | 4.9055 | 5.0317 | 5.9816 | 4.9088 | 4.6673
1972-2 | 2013-06-04 14:42 | 2.7 | 1.6326 | 0.039956 | 1.2551 | 0.065004 | 89.9719 | 4.9739 | 5.9094 | 0.13175 | 20.2787 | 0.43387 | 0.97424 | 0.016119 | 69.2212 | 1.1186 | 1.0312 | 0.0049914 | 0.24945 | 0.0072495 | Cu | 0.99981 | 0.23798 | 0.0056291 | 0.0034846 | 0.017423 | 0.023654 | [5 empty] | 10 | 2013-06-04 12:58 | 1 | 9.9252 | <69.367 | 11.09 | 9.9311 | 9.9472 | 10.1818 | 9.8424 | 9.8966 | 9.3511
1972-3 | 2013-06-04 14:46 | 3.3667 | 1.8721 | 0.045818 | 1.3405 | 0.069427 | 103.6695 | 5.7311 | 9.9328 | 0.22145 | 50.1035 | 1.072 | 3.6288 | 0.06004 | 84.5863 | 1.3669 | 1.2616 | 0.0061064 | 1.3816 | 0.040152 | Zn | 0.9999 | 0.041774 | 0.0037994 | 0.051726 | 0.25863 | 0.09095 | [5 empty] | 50 | 2013-06-04 13:03 | 1 | 49.4939 | <69.367 | 51.5509 | 49.2874 | 49.4451 | 52.3913 | 48.8205 | 49.737 | 46.8841
1972-4 | 2013-06-04 14:51 | 3.9238 | 1.5423 | 0.037746 | 0.98792 | 0.051167 | 85.6747 | 4.7363 | 29.684 | 0.66181 | 27.4437 | 0.58716 | 3.1263 | 0.051725 | 87.7666 | 1.4183 | 0.83007 | 0.0040178 | 1.01 | 0.029351 | Se | 1 | 0.0045959 | 0.0019912 | 0.043065 | 0.21532 | 0.43325 | [5 empty] | 100 | 2013-06-04 13:07 | 1 | 86.2137 | 80.7281 | 91.3138 | 90.3777 | 89.6162 | 92.5474 | 85.5754 | 100.0932 | 88.4147
1972-5 | 2013-06-04 14:55 | 3.7273 | 2.4055 | 0.058871 | 0.62931 | 0.032594 | 113.1371 | 6.2545 | 11.7268 | 0.26145 | 26.2898 | 0.56248 | 1.5285 | 0.025289 | 145.3111 | 2.3482 | 1.0096 | 0.0048869 | 0.19863 | 0.0057726 | Sn | 0.99993 | 0.11903 | 0.0060929 | 0.019226 | 0.096128 | 0.05119 | [5 empty] | 1000 | 2013-06-04 13:11 | 1 | 1029.958 | 1030.2633 | 1024.9079 | 1019.5084 | 1019.2743 | 1034.9241 | 1025.1199 | 1000.0054 | 1020.7637
1972-6 | 2013-06-04 15:13 | 3.0074 | 2.3842 | 0.058351 | 1.6251 | 0.084169 | 114.1045 | 6.308 | 7.4177 | 0.16538 | 56.8036 | 1.2153 | 6.189 | 0.1024 | 99.4203 | 1.6066 | 1.3184 | 0.0063815 | 0.806 | 0.023424 | [12 empty] | 2000 | 2013-06-04 13:16 | 1 | 1985.034 | 1984.9283 | 1987.4881 | 1990.2642 | 1990.3772 | 1982.4772 | 1987.4679 | 0.42333 | 1989.7003
1974-1 | 2013-06-04 15:17 | 5.4 | 1.634 | 0.03999 | 0.91151 | 0.047209 | 93.3133 | 5.1586 | 13.2074 | 0.29446 | 20.8451 | 0.44599 | 1.1452 | 0.018947 | 78.7115 | 1.2719 | 1.1192 | 0.0054173 | 0.78462 | 0.022802 | [12 empty] | 5000 | 2013-06-04 13:22 | 1 | 3555.0552 | 3523.532 | 3564.9883 | 3608.5399 | 3591.3109 | 3517.8218 | 3539.6529 | 0.76004 | 3641.4297
1974-2 | 2013-06-04 15:21 | 2.045 | 1.8167 | 0.044461 | 0.9492 | 0.049161 | 93.9661 | 5.1947 | 5.9762 | 0.13324 | 10.7484 | 0.22996 | 2.1409 | 0.035422 | 64.9333 | 1.0493 | 1.1194 | 0.0054184 | 0.12086 | 0.0035125 | Coefficient of Variance (CoV):
1975-1 | 2013-06-04 15:26 | 3.4333 | 1.6025 | 0.03922 | 1.2866 | 0.066638 | 94.823 | 5.2421 | 4.4591 | 0.099416 | 12.9298 | 0.27664 | 1.4296 | 0.023654 | 75.998 | 1.2281 | 1.3709 | 0.0066357 | 1.7006 | 0.049421
1975-2 | 2013-06-04 15:30 | 5.1 | 1.5363 | 0.0376 | 1.0598 | 0.05489 | 87.6875 | 4.8476 | 6.1236 | 0.13653 | 26.3813 | 0.56443 | 0.96396 | 0.015949 | 84.3032 | 1.3623 | 1.2792 | 0.0061915 | 0.14837 | 0.004312 | Sample Name | Acq. Date-Time | Dilution | Mg [ppb] | K [CPS] | Ca [ppb] | Mn [ppb] | Fe [ppb] | Cu [ppb] | Zn [ppb] | Se [ppb] | Sn [ppb]
1975-3 | 2013-06-04 15:35 | 3.1538 | 2.7772 | 0.067968 | 1.4687 | 0.076067 | 135.2792 | 7.4786 | 12.907 | 0.28777 | 105.0796 | 2.2482 | 1.7992 | 0.029768 | 153.7282 | 2.4842 | 1.3107 | 0.0063441 | 0.19679 | 0.005719 | Check-10 | 2013-06-04 13:36 | 1 | 10.0235 | 70679.7867 | 11.9157 | 9.9693 | 10.0497 | 10.2974 | 9.9052 | 9.8986 | 9.7947
1975-4 | 2013-06-04 15:39 | 5.52 | 2.2665 | 0.05547 | 1.4958 | 0.077472 | 117.2846 | 6.4838 | 10.8344 | 0.24156 | 26.2352 | 0.56131 | 4.8919 | 0.080938 | 115.3287 | 1.8637 | 2.7111 | 0.013123 | 1.2313 | 0.035784 | Check-10 | 2013-06-04 13:49 | 1 | 9.8702 | 70147.4467 | 12.7692 | 9.7243 | 9.8385 | 10.0828 | 9.8858 | 9.9112 | 9.5766
1975-5 | 2013-06-04 15:43 | 5.8571 | 2.2712 | 0.055585 | 1.2142 | 0.062888 | 114.4629 | 6.3278 | 11.5183 | 0.2568 | 24.2435 | 0.5187 | 2.1352 | 0.035327 | 117.642 | 1.9011 | 2.1385 | 0.010351 | 2.6485 | 0.076969 | Check-10 | 2013-06-04 15:04 | 1 | 10.1166 | 78432.8567 | 12.8504 | 9.8888 | 10.0759 | 10.3494 | 10.045 | 9.8419 | 9.4402
1975-6 | 2013-06-04 15:48 | 1.9286 | 2.038 | 0.049878 | 1.235 | 0.063964 | 105.6504 | 5.8406 | 12.4001 | 0.27646 | 272.7841 | 5.8363 | 3.6641 | 0.060623 | 135.2959 | 2.1863 | 1.0809 | 0.0052319 | 4.3668 | 0.12691 | Check-10 | 2013-06-04 16:14 | 1 | 9.9869 | 80281.7867 | 13.7634 | 9.7716 | 9.8242 | 10.1796 | 9.7729 | 9.8915 | 9.1922
1994-1 | 2013-06-04 15:57 | 3.375 | 2.5727 | 0.062965 | 2.1811 | 0.11296 | 122.5414 | 6.7744 | 17.2539 | 0.38468 | 19.3143 | 0.41323 | 1.4066 | 0.023273 | 128.6045 | 2.0782 | 2.0152 | 0.0097542 | <0.096 |  | Check-10 | 2013-06-04 16:36 | 1 | 9.5601 | 78011.0467 | 13.4145 | 9.5444 | 9.6168 | 10.0002 | 9.6667 | 9.8765 | 8.9698
1996-1 | 2013-06-04 16:01 | 1.9714 | 2.0115 | 0.049229 | 0.34781 | 0.018014 | 99.7666 | 5.5154 | 14.3276 | 0.31944 | 13.6998 | 0.29311 | 1.8682 | 0.030909 | 80.4225 | 1.2996 | 1.315 | 0.006365 | <0.096 |  | Check-10 | 2013-06-04 16:54 | 1 | 9.4701 | 77365.2733 | 11.8493 | 9.3222 | 9.4962 | 9.8639 | 9.5675 | 9.7699 | 9.2123
1996-2 | 2013-06-04 16:05 | 1.6196 | 2.669 | 0.065321 | 0.70082 | 0.036297 | 126.7205 | 7.0054 | 7.8869 | 0.17584 | 73.9432 | 1.582 | 0.78594 | 0.013003 | 68.9982 | 1.115 | 1.157 | 0.0056 | <0.096 |  | Average |  |  | 9.8379 | 75819.6994 | 12.7604 | 9.7034 | 9.8169 | 10.1289 | 9.8072 | 9.8649 | 9.3643
1996-3 | 2013-06-04 16:23 | 2.2162 | 2.1171 | 0.051815 | 0.53901 | 0.027916 | 107.0702 | 5.9191 | 16.686 | 0.37202 | 15.4328 | 0.33019 | 1.7768 | 0.029398 | 76.942 | 1.2434 | 1.2459 | 0.0060307 | 0.22177 | 0.0064451 | Standard deviation |  |  | 0.24077 | 3926.8896 | 0.70543 | 0.21634 | 0.21003 | 0.16758 | 0.15848 | 0.047749 | 0.27214
1996-4 | 2013-06-04 16:27 | 4.3158 | 1.7064 | 0.041763 | 0.86983 | 0.045051 | 93.8939 | 5.1907 | 17.5924 | 0.39223 | 25.737 | 0.55065 | 2.7054 | 0.044761 | 68.7979 | 1.1117 | 1.2952 | 0.0062689 | 0.23304 | 0.0067724 | CoV |  |  | 0.024474 | 0.051792 | 0.055283 | 0.022295 | 0.021395 | 0.016545 | 0.01616 | 0.0048403 | 0.029062
Control measurements:
Sample Name | Acq. Date-Time | Dilution | Mg [ppb] | Mg CoV [ppb] | K [ppb] | K CoV [ppb] | Ca [ppb] | Ca CoV [ppb] | Mn [ppb] | Mn CoV [ppb] | Fe [ppb] | Fe CoV [ppb] | Cu [ppb] | Cu CoV [ppb] | Zn [ppb] | Zn CoV [ppb] | Se [ppb] | Se CoV [ppb] | Sn [ppb] | Sn CoV [ppb]
Acid control | 2013-06-04 13:57 | 1 | <1.883 |  | <69.367 |  | 3.8487 | 0.21277 | 0.029546 | 0.00065874 | <0.884 |  | 0.031636 | 0.00052342 | 1.0642 | 0.017197 | <0.215 |  | 0.16607 | 0.0048261
Sample Name | Acq. Date-Time | Dilution | Mg [ppm] | Mg CoV [ppm] | K [ppm] | K CoV [ppm] | Ca [ppm] | Ca CoV [ppm] | Mn [ppm] | Mn CoV [ppm] | Fe [ppm] | Fe CoV [ppm] | Cu [ppm] | Cu CoV [ppm] | Zn [ppm] | Zn CoV [ppm] | Se [ppm] | Se CoV [ppm] | Sn [ppm] | Sn CoV [ppm]
Elemental standard control | 2013-06-04 14:11 | 866 | 97.7676 | 2.3927 | 154.9456 | 8.025 | 108.7913 | 6.0143 | 98.6823 | 2.2002 | 100.3302 | 2.1466 | 100.5072 | 1.6629 | 92.6648 | 1.4974 |  |  | 85.5269 | 2.4856
Elemental standard concentration |  |  | 100 |  | 100 |  | 100 |  | 100 |  | 100 |  | 100 |  | 100 |  |  |  | 100
% recovery |  |  | 97.7676 |  | 154.9456 |  | 108.7913 |  | 98.6823 |  | 100.3302 |  | 100.5072 |  | 92.6648 |  |  |  | 85.5269
Sample Name | Acq. Date-Time | Dilution | Mg [ug/g] | Mg CoV [ug/g] | K [ug/g] | K CoV [ug/g] | Ca [ug/g] | Ca CoV [ug/g] | Mn [ug/g] | Mn CoV [ug/g] | Fe [ug/g] | Fe CoV [ug/g] | Cu [ug/g] | Cu CoV [ug/g] | Zn [ug/g] | Zn CoV [ug/g] | Se [ug/g] | Se CoV [ug/g] | Sn [ug/g] | Sn CoV [ug/g]
NIST bovine liver control | 2013-06-04 14:02 | 1.1905 | 558.5478 | 13.6698 | 9748.7119 | 504.9099 | 131.9389 | 7.2939 | 9.5833 | 0.21366 | 189.3964 | 4.0522 | 275.2693 | 4.5544 | 166.6602 | 2.6932 | 1.6954 | 0.0082061 | 0.91873 | 0.0267
Published reference value |  |  | 620 | 42 | 10230 | 64 | 131 | 10 | 10.46 | 0.47 | 197.94 | 0.65 | 275.2 | 4.6 | 181.1 | 1 | 2.031 | 0.045 | n/a
% recovery |  |  | 90.0884 |  | 95.2953 |  | 100.7167 |  | 91.6187 |  | 95.6837 |  | 100.0252 |  | 92.0266 |  | 83.4751