## Input
Enter information into the gray areas.
| Project Name: | Central Avenue Expansion
| LGU Name: | Town of Anytown

## Current Population - Method 1
Table 2.2.1. Current Population Analysis Method 1 - Limited Service Area
Central Avenue Expansion
Town of Anytown
Complete the areas shown in gray. Links are toU.S. Census websites for use with the table.
U.S. Census Place or County: | Anytown, NC
Appendix Reference for U.S. Census Information: |  | D
Bedrooms/Dwelling Unita | Dwelling Units | Bedrooms
2 | 15834 | 31668
3 | 16245 | 48735
4 | 14578 | 58312
5 | 4960 | 24800
Total Dwelling Units: | 51617 | 163515
Total 2010 Population from U.S. Census: | 135489
Persons per Dwelling Unit: | 2.6249
Dwelling Units in Service Area: | 175
Current Population in Sewershed Service Area: | 459.3559
Total Bedrooms/Dwelling Unit: | 3.1679
aZero- or one-bedroom dwellings should be included within the 2 bedroom category.

## Current Population - Method 2
Table 2.2.1. Current Population Analysis Method 2 - Large Service Area
Central Avenue Expansion
Town of Anytown
Complete the areas shown in gray. Links are to U.S. Census Bureau websites for use with this table.
U.S. Census Place or County: | Anytown, NC
Appendix Reference for U.S. Census Information: | A
Total Census 2010 Population: | 135489
Persons per Square Mile in LGU: | 2434.66
LGU Land Area (miles2): | 55.65
WWTP Service Area (miles2): | 48.64
% of LGU in WWTP Service Area: | 87.4%
% of WWTP Service Area in Sewershed Service Area: | 90%
Current Population in Sewershed Service Area: | 106579.6762

## Current Flow
Table 2.3.1. Current Flow Analysis
Central Avenue Expansion
Town of Anytown
Complete the cells in gray. Some cells have pulldown menus. Please use if present.
Current Flow Determination Methodology: |  | Method 2 - Large Service Area
Current Flow Appendix Reference: |  | E
Metered Flow
Current Average Daily Flow via Meter | Current Average Daily Flow at WWTP | Percentage of Flow to WWTP from Sewershed
(gpd) | (gpd)
9059300 | 11750000
Residential Flow as Percentage of Metered Flow in Sewershed: |  | 80%
Commercial Flow as Percentage of Metered Flow in Sewershed: |  | 20%
Pump Runtime
Drawdown Rate (gpm): |  | 4250
Pump Runtime (hrs/day): |  | 12
Peaking Factor: |  | 3
Current Peaked Flow (gpd):
Method 1 - Limited Service Area
| Bedroom Number | Total Bedrooms
2
3
4
5
Total Bedrooms in Place/County:
Total Dwelling Units:
Total Bedrooms/Dwelling Unit:
Dwelling Units in Service Area:
Flow per bedroom (gpd/bedroom):
Peaking Factor: |  | 3
Total Estimated Service Area Peaked Flow (gpd):
Method 2 - Large Service Area
I/I Estimation Methodology: |  | WWTP Only
WWTP ADF (gpd): |  | 3650000
WWTP Min ADF (gpd) (if applicable): |  | 3350000
Percent of LGU in WWTP Service Area: |  | 87.4%
Percent of Sewershed Service Area in WWTP Service Areaa: |  | 90%
| Water ADF | WW ADF
| (gpd) | (gpd)
Residential: | 3250000 | 2925000
Commercial: | 450000 | 405000
Industrial: |  | 200000
Flow Commitments: |  | 300000
Infiltration/Inflow: |  | 300000
Peaking Factor: |  | 3
Total Estimated Peaked Current Flow (gpd): |  | 9746354.717
Provide a justification for the peaking factor used above (applies to all methods but Metered Flow).
The peaking factor of 3.00 was selected due to the widespread I/I issues associated with the Central Avenue Sewershed.
aIf the WWTP service area is the entire sewershed service area, then enter 100%.

## Future Population
Table 3.4.1. Future Population Analysis
Central Avenue Expansion
Town of Anytown
Complete the cells in gray. Note that some cells may contain pulldown menu. If so, please use pulldown menus to select data.
Current Population Methodology: |  |  | Method 2 - Large Service Area |  |  | SDC Data Appendix Reference: | F
Current LGU Population: |  |  | 135489 |  |  | County Name: | Coon
Current Sewershed Service Area Population: |  |  | 106579.6762 |  |  | County Population (2010): | 900687
Percentage of LGU Population in County: |  |  | 15.04% |  |  | Percentage of Service Area in LGU: | 78.66%
|  | State Data Center |  |  | Alternate Data Source: | Town/County Comprehensive Plan
| Year | County Population | LGU Population | Sewershed Service Area Population | County Population | LGU Population | Sewershed Service Area Population
1 | 2014 | 900987 | 135534.1286 | 106615.3102 | 901236 | 135678 | 106728.4839
2 | 2015 | 901546 | 135618.2181 | 106681.4576 | 901568 | 135879 | 106886.5967
3 | 2016 | 901687 | 135639.4285 | 106698.1424 | 901987 | 136222 | 107156.411
4 | 2017 | 902126 | 135705.4666 | 106750.09 | 902468 | 136546 | 107411.2794
5 | 2018 | 902568 | 135771.956 | 106802.3926 | 902768 | 136876 | 107670.8675
6 | 2019 | 902879 | 135818.7393 | 106839.1937 | 903012 | 137111 | 107855.7257
7 | 2020 | 903004 | 135837.5428 | 106853.9852 | 903687 | 137564 | 108212.0694
8 | 2021 | 903246 | 135873.9465 | 106882.6215 | 903998 | 137986 | 108544.0276
9 | 2022 | 903548 | 135919.376 | 106918.3576 | 904126 | 138123 | 108651.796
10 | 2023 | 903687 | 135940.2855 | 106934.8057 | 904688 | 138555 | 108991.6205
11 | 2024 | 904236 | 136022.8708 | 106999.7698 | 904999 | 138763 | 109155.2397
12 | 2025 | 904456 | 136055.965 | 107025.8028 | 905237 | 139002 | 109343.2444
13 | 2026 | 904798 | 136107.4116 | 107066.2722 | 905678 | 139100 | 109420.3342
14 | 2027 | 904999 | 136137.6477 | 107090.0569 | 905931 | 139566 | 109786.9042
15 | 2028 | 905368 | 136193.1558 | 107133.7213 | 906431 | 139789 | 109962.3228
16 | 2029 | 905568 | 136223.2415 | 107157.3876 | 906876 | 140023 | 110146.3944
17 | 2030 | 905789 | 136256.4862 | 107183.5389 | 907126 | 140444 | 110477.5659
18 | 2031 | 906002 | 136288.5275 | 107208.7436 | 907567 | 140875 | 110816.6038
19 | 2032 | 906267 | 136328.3911 | 107240.1015 | 907863 | 140987 | 110904.7064
20 | 2033 | 906564 | 136373.0683 | 107275.246 | 908001 | 141001 | 110915.7192
If using an alternative source of data, provide a justification for use of this data below and provide supporting information in an appendix of the ER/EID.
Appendix Reference: |  | G
Alternative population information was used because the Town and Coon County recognized the need for organized planning due to the large amount of industry moving into the area. Using GIS-based TAZ analysis, they put together population projections for the next 30 years, of which this is a part.

## Flow (hidden)
Metered | WWTP Only |  | Method 1 - Limited Service Area | Yes | SDC
Pump Runtime | WWTP & Water |  | Method 2 - Large Service Area | No | Other
Method 1 - Limited Service Area
Method 2 - Large Service Area
0.1
70
15

## Future Flow
Table 3.4.2. Future Peak Flow Analysis
Central Avenue Expansion
Town of Anytown
|  | Current Flow Estimation Method: | Method 2 - Large Service Area |  |  |  |  | Alternative Flow Projections Used in Alternatives Analysis? | Yes
|  | Current Flow for 2010 (gpd): | 9746354.717 | Peaking Factor: | 2 |  |  | Appendix Reference: | F
|  | SDC Data |  |  |  |  | Alternative Population Data Source: | Town/County Comprehensive Plan
| Year | Residential Flow | Commercial Flow | Industrial Flow | Total Flow | Residential Flow | Commercial Flow | Industrial Flow | Total Flow
|  | (gpd) | (gpd) | (gpd) | (gpd) | (gpd) | (gpd) | (gpd) | (gpd)
1 | 2014 | 4988.7627 | 1069.0206 | 1950482.5001 | 11702895.0003 | 20833.081 | 4464.2316 | 1954330.4059 | 11725982.4355
2 | 2015 | 14249.4004 | 3053.4429 | 1952731.5121 | 11716389.0724 | 42968.8697 | 9207.6149 | 1959706.2403 | 11758237.4419
3 | 2016 | 16585.2679 | 3553.986 | 1953298.7942 | 11719792.765 | 80742.8772 | 17302.0451 | 1968879.9279 | 11813279.5672
4 | 2017 | 23857.9333 | 5112.4143 | 1955065.0129 | 11730390.0774 | 116424.447 | 24948.0958 | 1977545.452 | 11865272.7118
5 | 2018 | 31180.298 | 6681.4924 | 1956843.3015 | 11741059.8088 | 152766.7867 | 32735.74 | 1986371.4487 | 11918228.6924
6 | 2019 | 36332.4595 | 7785.527 | 1958094.5407 | 11748567.2443 | 178646.9376 | 38281.4866 | 1992656.6282 | 11955939.7695
7 | 2020 | 38403.264 | 8229.2709 | 1958597.4504 | 11751584.7022 | 228535.0584 | 48971.7982 | 2004772.3147 | 12028633.8883
8 | 2021 | 42412.3415 | 9088.3589 | 1959571.0835 | 11757426.5009 | 275009.2018 | 58930.5432 | 2016058.8924 | 12096353.3544
9 | 2022 | 47415.4052 | 10160.444 | 1960786.1132 | 11764716.6794 | 290096.7791 | 62163.5955 | 2019723.0183 | 12118338.1099
10 | 2023 | 49718.1398 | 10653.8871 | 1961345.3488 | 11768072.0926 | 337672.2055 | 72358.3298 | 2031277.0505 | 12187662.3027
11 | 2024 | 58813.1131 | 12602.81 | 1963554.128 | 11781324.7681 | 360578.8923 | 77266.9055 | 2036840.103 | 12221040.6178
12 | 2025 | 62457.729 | 13383.7991 | 1964439.249 | 11786635.4941 | 386899.5565 | 82907.0478 | 2043232.2643 | 12259393.5855
13 | 2026 | 68123.4501 | 14597.8822 | 1965815.2099 | 11794891.2591 | 397692.1301 | 85219.7422 | 2045853.3178 | 12275119.907
14 | 2027 | 71453.3037 | 15311.4222 | 1966623.8886 | 11799743.3315 | 449011.9187 | 96216.8397 | 2058316.6951 | 12349900.1705
15 | 2028 | 77566.3186 | 16621.354 | 1968108.4779 | 11808650.8675 | 473570.5301 | 101479.3993 | 2064280.9293 | 12385685.5756
16 | 2029 | 80879.6058 | 17331.3441 | 1968913.1334 | 11813478.8003 | 499340.5527 | 107001.547 | 2070539.3633 | 12423236.18
17 | 2030 | 84540.7881 | 18115.8832 | 1969802.2777 | 11818813.666 | 545704.5678 | 116936.6931 | 2081799.1956 | 12490795.1734
18 | 2031 | 88069.439 | 18872.0226 | 1970659.2357 | 11823955.4144 | 593169.8659 | 127107.8284 | 2093326.4823 | 12559958.8935
19 | 2032 | 92459.5445 | 19812.7595 | 1971725.4042 | 11830352.4253 | 605504.2357 | 129750.9077 | 2096321.9721 | 12577931.8324
20 | 2033 | 97379.776 | 20867.0949 | 1972920.3176 | 11837521.9054 | 607046.0319 | 130081.2926 | 2096696.4083 | 12580178.4498
Provide a justification for the peaking factor used for future peak flows.
The peaking factor of 2.0 was used because of the new interceptor being put into place as part of this project as well as the aggressive I/I reduction campaign that the Town plans to implement to reduce I/I issues within the Central Avenue sewershed. By 20 years out, the Town hopes to have an I/I reduction of 50 percent, thereby reducing the peaking factor by half.
If the alternative flow projection was the one accepted for use in the alternatives analysis, then provide a justification as to why the alternative flow projections are preferred over the flows developed based on SDC population projections.
The alternative flow methodology was used because of the alternative population methodology utilized. Since industry is coming to the county, many people will be living in both the County and the Town, and the flows are based upon the higher populations than predicted by the SDC.

## Interceptor Flow
Table 3.4.3. Interceptor Capacity Analysis
Central Avenue Expansion
Town of Anytown
Enter information into the gray cells. Where appropriate, use pulldown menus to select information.
Does the project contain an interceptor with multiple pipe diameters? |  |  | Yes | Flow Projection Preferred for Project: |  | Other
Information Related to Project
|  | Sub-Sewershed A | Sub-Sewershed B | Sub-Sewershed C | Sub-Sewershed D | Sub-Sewershed E
Name: |  | Area A | Area B | Area C | Area D | Area A
Pipe Diameter (inches): |  | 10 | 12 | 16 | 24 | 36
Pipe Capacity (gpd): |  | 1250000 | 4000000 | 6500000 | 10500000 | 12500000
Percent of Project in Sub-Sewershed |  | 10% | 20% | 20% | 30% | 20%
Total Peak Projected Flow from Sub-Sewersheds (gpd)
| Year | Sub-Sewershed A | Sub-Sewershed B | Sub-Sewershed C | Sub-Sewershed D | Sub-Sewershed E
Current: | 2010 | 974635.4717 | 2923906.4151 | 4873177.3585 | 7797083.7736 | 9746354.717
Year 1: | 2014 | 1181327.9567 | 3543983.8702 | 5906639.7836 | 9450623.6537 | 11813279.5672
Year 5: | 2018 | 1191822.8692 | 3575468.6077 | 5959114.3462 | 9534582.9539 | 11918228.6924
Year 10: | 2023 | 1218766.2303 | 3656298.6908 | 6093831.1514 | 9750129.8422 | 12187662.3027
Year 15: | 2028 | 1238568.5576 | 3715705.6727 | 6192842.7878 | 9908548.4605 | 12385685.5756
Year 20: | 2033 | 1258017.845 | 3774053.5349 | 6290089.2249 | 10064142.7598 | 12580178.4498
Is pipe capacity sufficient to accommodate project 20-year flows in each sewershed?
| Year | Sub-Sewershed A | Sub-Sewershed B | Sub-Sewershed C | Sub-Sewershed D | Sub-Sewershed E
Current: | 2010 | Yes | Yes | Yes | Yes | Yes
Year 1: | 2014 | Yes | Yes | Yes | Yes | Yes
Year 5: | 2018 | Yes | Yes | Yes | Yes | Yes
Year 10: | 2023 | Yes | Yes | Yes | Yes | Yes
Year 15: | 2028 | Yes | Yes | Yes | Yes | Yes
Year 20: | 2033 | No | Yes | Yes | Yes | No
If the answer to the question above is "No" for any sub-sewershed, provide the reason why the current pipe size is proposed and/or what will be done to ensure capacity by the 20-year window (or 50-year window if extended years are considered).
The Town intends to undertake an aggressive I/I campaign, especially in the sewershed at the head of the project and the foot of the project. The goal of the I/I program is to reduce I/I flows by half, which should reduce the flows in the interceptors where "No" is shown substantially so that they have the capacity to take the flow from the project.

## Downstream Flow
Table 4.4.3. Downstream Capacity Analysis
Central Avenue Expansion
Town of Anytown
Complete the boxes shown in gray. Where indicated, use pulldown menus to enter data.
Current Flow Methodology Used: | Method 2 - Large Service Area |  |  |  | Flow Projection Methodology Preferred: | Other
Collection System
Percent WWTP Service Area in Downstream Pipe Sewershed Service Area: |  |  | 90% |  | WWTP Current Capacity (gpd): | 16500000
| Current Year | Year 1 | Year 5 | Year 10 | Year 15 | Year 20
| 2010 | 2014 | 2018 | 2023 | 2028 | 2033
Peak Flow from Project (gpd): | 9746354.717 | 11725982.4355 | 11918228.6924 | 12187662.3027 | 12385685.5756 | 12580178.4498
Downstream Collection System
Downstream Sewershed
Name: |  | Sewershed A | Sewershed B | Sewershed C | Sewershed D | Sewershed E
Capacity of Pipe(s) in downstream sewershed (gallons): |  | 20250000 | 20250000 | 24000000 | 24000000 | 25000000
Diameter (inches): |  | 42 | 42 | 48 | 48 | 52
Peaking Factor: | [5 empty] | 2.5
Peak Flow from Downstream Flows (gpd)
| Current Year | Year 1 | Year 5 | Year 10 | Year 15 | Year 20
| 2010 | 2014 | 2018 | 2023 | 2028 | 2033
Sewershed A | 5000000 | 5500000 | 6000000 | 6500000 | 7000000 | 7500000
Sewershed B | 0 | 0 | 0 | 500000 | 500000 | 500000
Sewershed C | 0 | 200000 | 200000 | 200000 | 200000 | 200000
Sewershed D | 0 | 0 | 0 | 0 | 400000 | 400000
Sewershed E | 2000000 | 200000 | 300000 | 300000 | 300000 | 300000
Total Peak Flow Through Downstream Pipe (gpd)
| Current Year | Year 1 | Year 5 | Year 10 | Year 15 | Year 20
| 2010 | 2014 | 2018 | 2023 | 2028 | 2033
Sewershed A | 14746354.717 | 17225982.4355 | 17918228.6924 | 18687662.3027 | 19385685.5756 | 20080178.4498
Sewershed B | 14746354.717 | 17225982.4355 | 17918228.6924 | 19187662.3027 | 19885685.5756 | 20580178.4498
Sewershed C | 14746354.717 | 17425982.4355 | 18118228.6924 | 19387662.3027 | 20085685.5756 | 20780178.4498
Sewershed D | 14746354.717 | 17425982.4355 | 18118228.6924 | 19387662.3027 | 20485685.5756 | 21180178.4498
Sewershed E | 16746354.717 | 17625982.4355 | 18418228.6924 | 19687662.3027 | 20785685.5756 | 21480178.4498
Will the downstream pipe be able to take on both project flow and flow from downstream sewersheds?
| Current Year | Year 1 | Year 5 | Year 10 | Year 15 | Year 20
| 2010 | 2014 | 2018 | 2023 | 2028 | 2033
Sewershed A | Yes | Yes | Yes | Yes | Yes | Yes
Sewershed B | Yes | Yes | Yes | Yes | Yes | No
Sewershed C | Yes | Yes | Yes | Yes | Yes | Yes
Sewershed D | Yes | Yes | Yes | Yes | Yes | Yes
Sewershed E | Yes | Yes | Yes | Yes | Yes | Yes
WWTP Capacity Analysis
ADF from Downstream Flows (gpd)
| Current Year | Year 1 | Year 5 | Year 10 | Year 15 | Year 20
| 2010 | 2014 | 2018 | 2023 | 2028 | 2033
ADF from Project (gpd): | 3248784.9057 | 5862991.2178 | 5959114.3462 | 6093831.1514 | 6192842.7878 | 6290089.2249
ADF from Downstream Interceptor only (gpd): | 6698541.8868 | 7050392.9742 | 7367291.4769 | 7875064.9211 | 8314274.2302 | 8592071.3799
WWTP ADF without Project: (gpd): | 7442824.3187 | 7833769.9714 | 8185879.4188 | 8750072.1345 | 9238082.478 | 9546745.9777
WWTP ADF with Project (gpd): | 11052585.3249 | 14348204.6578 | 14807117.5813 | 15520995.636 | 16119018.9089 | 16535734.0053
% WWTP Capacity Utilized (without project): | 40.6% | 42.73% | 44.65% | 47.73% | 50.39% | 52.07%
% WWTP Capacity Utilized (with Project): | 66.99% | 86.96% | 89.74% | 94.07% | 97.69% | 100.2%
Should planning begin for a WWTP expansion regardless of project implementation? | No | No | No | No | No | No
Should construction begin for a WWTP expansion regardless of project implementation? | No | No | No | No | No | No
Should planning begin for a WWTP expansion due to the project flows? | No | Yes | Yes | Yes | Yes | Yes
Should construction begin for a WWTP expansion due to the project flows? | No | No | No | Yes | Yes | Yes
If the answer to the question regarding downstream collection line capacity is "No", discuss measures the LGU plans to take to ensure that said capacity will exist.
The analysis shows that Sewershed B will not be able to accommodate the flows in 2033. In 2025, the CIP contains a line item to expand the pipe downstream of the project sewershed to accommodate the additional flows that are expected in the project area.
If the answer to the question regarding WWTP is "Yes" for either question, discuss when the LGU will begin planning for the next WWTP expansion and/or will begin construction on the next WWTP expansion.
The Town plans to begin planning for expansion of the WWTP in the Year 2014. Construction will be scheduled to begin by Year 2020 with completion by Year 2023. See Line Item 24 in the CIP for the Town of Anytown.