## Sheet1
Water Programs
3200 Civic Center Circle NE
Rio Rancho, NM 87144
Phone: (505) 896-8816 Fax: (505) 891-5201
waterprograms@ci.rio-rancho.nm.us
Customer Information
|  |  | Owner's Name: | _____________________________________________________ | [9 empty] | Phone: | ________________
|  |  | Premises Name: | ________________________________________________________________________________
|  |  | Address: | ________________________________________________________________________________
[5 empty] | Customer's Representative: | ____________________________________________ | [7 empty] | Phone: | ________________
|  |  | Water Meter No: | _______________________
Assembly Information
Current Assembly Information | [11 empty] | Removed Assembly Information
|  | Manufacturer: |  | _______________ |  |  |  | Size: |  | _____________ |  |  |  | Manufacturer: |  | ______________
|  | Model: |  | _______________ |  |  |  | Serial No.: |  | _____________ |  |  |  | Model: |  | ______________
[14 empty] | Size: |  | ______________
| O | Containment: |  |  | O | Domestic | O | Irrigation | O | Fire Protection |  |  |  | Serial No.: |  | ______________
| O | Isolation: |  |  | ___________________________________
Test Gauge Information
Physical Location: | [13 empty] | Manufacturer: |  | ______________
________________________________________________________ | [13 empty] | Model: |  | ______________
________________________________________________________ | [13 empty] | Serial No.: |  | ______________
[14 empty] | Last Cal: |  | ______________
Freeze Protected? |  |  |  |  | O | Yes | O | No | O | N/A
Test Information
|  |  |  | RP |  |  |  |  | DC |  | Test Results |  | O | Pass | O | Fail
|  | CV1 AR |  | ______ |  |  |  | CV1 | ______ |  | Test Type: |  | O | Initial | O | Annual | O | Repair
|  | RV |  | ______ |  |  |  | CV2 | ______ |  | Test Date: _____________ |  |  |  | Time: __________
|  | CV2 Tight? |  | ______
|  | CV1 CR |  | ______ |  |  | O | PVB | O | SVB | Comments/Repairs:
|  | CV2 |  | ______ |  |  |  | AIV | ______
|  | Buffer |  | ______ |  |  |  | CV | ______
Technician/Employer Information
I certify that I have tested the above assembly in accordance with the City of Rio Rancho Backflow Prevention and Cross Connection Control Ordinance, and that the information is accurate to the best of my abilities.
|  |  |  | Technician Name: | __________________________________
|  |  |  | Employer: | __________________________________
|  |  |  | Employer Address: | __________________________________ | [6 empty] | __________________________________
[5 empty] | __________________________________ | [7 empty] | Technician Signature
|  |  |  | Phone: | __________________________________
|  |  |  | email: | __________________________________ | [8 empty] | RR Registration No.: | _______________
Rev. 11/2013